## Raw data
AnalyteName | Background | BufferId | CartridgeId | CartridgeComments | CalculatedConcentration | CalculatedConcentrationPercentCV | CalculatedConcentrationStdDev | ChannelNumber | CurveCoefficientA | CurveCoefficientB | CurveCoefficientC | CurveCoefficientD | CurveCoefficientG | DiluentId | DilutionFactor | GnrFilter | GnrFilterCVPercentThreshold | IsSampleStdDev | Gnr1CalculatedConcentration | Gnr1RFU | Gnr1Background | Gnr1Signal | Gnr2CalculatedConcentration | Gnr2RFU | Gnr2Background | Gnr2Signal | Gnr3CalculatedConcentration | Gnr3RFU | Gnr3Background | Gnr3Signal | GnrCount | InletComment | InletNumber | AnalyzerName | KitId | KitGuid | KnownConcentration | LotNumber | PercentRecovery | RFU | RFUPercentCV | RFUStdDev | RunDate | RunUserName | SampleName | SampleType | Signal | SpecimenTypes | AnalyteNumber | AnalyzerDescription | CalculatedConcentrationStatus | DilutedConcentration | DilutedConcentrationStatus | NonlimitedCalculatedConcentration | NonlimitedDilutedConcentration
GRANA | 0.448 | 689 | 40970 |  | 122.368 | 2.051 | 2.509 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 125.839 | 9.256 | 0.448 | 9.704 | 119.996 | 8.831 | 0.448 | 9.279 | 121.267 | 8.923 | 0.448 | 9.371 | 3 |  | 1 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 9.003 | 2.029 | 0.183 | 08/03/2017 09:31 | Ella | IO | Unknown | 9.452 | PlasmaSerum | 1 |  | IR | 61.184 | IR | 122.368 | 61.184
GRANB | 0.444 | 689 | 40970 |  | 16.640 | 1.838 | 0.306 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 17.071 | 0.739 | 0.444 | 1.183 | 16.388 | 0.712 | 0.444 | 1.156 | 16.462 | 0.715 | 0.444 | 1.159 | 3 |  | 1 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.722 | 1.649 | 0.012 | 08/03/2017 09:31 | Ella | IO | Unknown | 1.166 | PlasmaSerum | 2 |  | IR | 8.320 | IR | 16.640 | 8.320
IL-1ra | 0.444 | 689 | 40970 |  | 447.576 | 1.072 | 4.799 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 454.363 | 49.251 | 0.444 | 49.694 | 444.200 | 48.180 | 0.444 | 48.624 | 444.165 | 48.177 | 0.444 | 48.620 | 3 |  | 1 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 48.536 | 1.041 | 0.505 | 08/03/2017 09:31 | Ella | IO | Unknown | 48.979 | PlasmaSerum | 3 |  | IR | 223.788 | IR | 447.576 | 223.788
IL-2ra | 0.454 | 689 | 40970 |  | 1613.610 | 0.737 | 11.889 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False |  |  |  |  | 1601.721 | 106.109 | 0.454 | 106.563 | 1625.499 | 107.504 | 0.454 | 107.958 | 2 |  | 1 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 106.807 | 0.653 | 0.698 | 08/03/2017 09:31 | Ella | IO | Unknown | 107.260 | PlasmaSerum | 4 |  | IR | 806.805 | IR | 1613.610 | 806.805
GRANA | 0.440 | 689 | 40970 |  | 60.187 | 8.481 | 5.105 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 66.845 | 4.970 | 0.440 | 5.410 | 54.441 | 4.073 | 0.440 | 4.513 | 59.274 | 4.422 | 0.440 | 4.862 | 3 |  | 2 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 4.488 | 8.226 | 0.369 | 08/03/2017 09:31 | Ella | IO | Unknown | 4.928 | PlasmaSerum | 1 |  | IR | 30.093 | IR | 60.187 | 30.093
GRANB | 0.500 | 689 | 40970 |  |  | 27.994 | 0.235 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 0.603 | 0.107 | 0.500 | 0.607 | 1.073 | 0.124 | 0.500 | 0.624 |  |  |  |  | 2 |  | 2 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.115 | 7.501 | 0.009 | 08/03/2017 09:31 | Ella | IO | Unknown | 0.615 | PlasmaSerum | 2 |  | OOR< |  | OOR< | 0.838 | 0.419
IL-1ra | 0.468 | 689 | 40970 |  | 272.184 | 1.646 | 4.480 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 267.704 | 29.334 | 0.468 | 29.802 |  |  |  |  | 276.665 | 30.302 | 0.468 | 30.769 | 2 |  | 2 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 29.818 | 1.623 | 0.484 | 08/03/2017 09:31 | Ella | IO | Unknown | 30.286 | PlasmaSerum | 3 |  | IR | 136.092 | IR | 272.184 | 136.092
IL-2ra | 0.462 | 689 | 40970 |  | 1459.333 | 2.435 | 35.534 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 1463.434 | 97.887 | 0.462 | 98.348 | 1500.657 | 100.118 | 0.462 | 100.580 | 1413.907 | 94.897 | 0.462 | 95.358 | 3 |  | 2 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 97.634 | 2.191 | 2.139 | 08/03/2017 09:31 | Ella | IO | Unknown | 98.096 | PlasmaSerum | 4 |  | IR | 729.666 | IR | 1459.333 | 729.666
GRANA | 0.459 | 689 | 40970 |  | 90.023 | 0.860 | 0.774 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 91.108 | 6.730 | 0.459 | 7.188 | 89.354 | 6.602 | 0.459 | 7.061 | 89.607 | 6.621 | 0.459 | 7.079 | 3 |  | 3 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 6.651 | 0.845 | 0.056 | 08/03/2017 09:31 | Ella | IO | Unknown | 7.110 | PlasmaSerum | 1 |  | IR | 45.012 | IR | 90.023 | 45.012
GRANB | 0.458 | 689 | 40970 |  | 7.340 | 2.167 | 0.159 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 7.456 | 0.366 | 0.458 | 0.824 | 7.115 | 0.353 | 0.458 | 0.811 | 7.448 | 0.366 | 0.458 | 0.824 | 3 |  | 3 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.362 | 1.688 | 0.006 | 08/03/2017 09:31 | Ella | IO | Unknown | 0.820 | PlasmaSerum | 2 |  | IR | 3.670 | IR | 7.340 | 3.670
IL-1ra | 0.456 | 689 | 40970 |  | 918.990 | 4.100 | 37.676 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 901.444 | 94.579 | 0.456 | 95.035 | 971.332 | 101.349 | 0.456 | 101.804 | 884.193 | 92.895 | 0.456 | 93.351 | 3 |  | 3 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 96.275 | 3.795 | 3.653 | 08/03/2017 09:31 | Ella | IO | Unknown | 96.730 | PlasmaSerum | 3 |  | IR | 459.495 | IR | 918.990 | 459.495
IL-2ra | 0.457 | 689 | 40970 |  | 1849.154 | 2.182 | 40.344 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 1902.479 | 123.364 | 0.457 | 123.822 | 1804.919 | 117.859 | 0.457 | 118.317 | 1840.065 | 119.853 | 0.457 | 120.310 | 3 |  | 3 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 120.359 | 1.891 | 2.276 | 08/03/2017 09:31 | Ella | IO | Unknown | 120.816 | PlasmaSerum | 4 |  | IR | 924.577 | IR | 1849.154 | 924.577
GRANA | 0.462 | 689 | 40970 |  | 239.431 | 1.620 | 3.879 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 244.681 | 17.915 | 0.462 | 18.377 | 235.429 | 17.241 | 0.462 | 17.704 | 238.183 | 17.442 | 0.462 | 17.904 | 3 |  | 4 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 17.533 | 1.611 | 0.282 | 08/03/2017 09:31 | Ella | IO | Unknown | 17.995 | PlasmaSerum | 1 |  | IR | 119.716 | IR | 239.431 | 119.716
GRANB | 0.443 | 689 | 40970 |  | 107.440 | 1.893 | 2.034 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 109.074 | 4.353 | 0.443 | 4.796 | 104.572 | 4.177 | 0.443 | 4.620 | 108.674 | 4.338 | 0.443 | 4.781 | 3 |  | 4 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 4.289 | 1.860 | 0.080 | 08/03/2017 09:31 | Ella | IO | Unknown | 4.732 | PlasmaSerum | 2 |  | IR | 53.720 | IR | 107.440 | 53.720
IL-1ra | 0.498 | 689 | 40970 |  | 5311.418 | 2.035 | 108.113 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 5246.653 | 394.435 | 0.498 | 394.933 | 5463.745 | 404.860 | 0.498 | 405.358 | 5223.856 | 393.323 | 0.498 | 393.821 | 3 |  | 4 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 397.539 | 1.307 | 5.196 | 08/03/2017 09:31 | Ella | IO | Unknown | 398.037 | PlasmaSerum | 3 |  | IR | 2655.709 | IR | 5311.418 | 2655.709
IL-2ra | 0.507 | 689 | 40970 |  | 5398.316 | 2.021 | 109.104 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 5314.943 | 271.491 | 0.507 | 271.998 | 5552.440 | 279.304 | 0.507 | 279.811 | 5327.566 | 271.912 | 0.507 | 272.420 | 3 |  | 4 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 274.236 | 1.308 | 3.588 | 08/03/2017 09:31 | Ella | IO | Unknown | 274.743 | PlasmaSerum | 4 |  | IR | 2699.158 | IR | 5398.316 | 2699.158
GRANA | 0.435 | 689 | 40970 |  | 522.368 | 2.066 | 10.794 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 527.855 | 38.403 | 0.435 | 38.838 | 507.288 | 36.926 | 0.435 | 37.361 | 531.960 | 38.697 | 0.435 | 39.132 | 3 |  | 5 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 38.009 | 2.039 | 0.775 | 08/03/2017 09:31 | Ella | IO | Unknown | 38.444 | PlasmaSerum | 1 |  | IR | 261.184 | IR | 522.368 | 261.184
GRANB | 0.447 | 689 | 40970 |  | 175.713 | 2.122 | 3.729 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 179.698 | 7.106 | 0.447 | 7.553 | 170.730 | 6.759 | 0.447 | 7.205 | 176.711 | 6.991 | 0.447 | 7.437 | 3 |  | 5 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 6.952 | 2.079 | 0.144 | 08/03/2017 09:31 | Ella | IO | Unknown | 7.398 | PlasmaSerum | 2 |  | IR | 87.857 | IR | 175.713 | 87.857
IL-1ra | 0.447 | 689 | 40970 |  | 1128.707 | 2.755 | 31.096 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 1147.701 | 118.058 | 0.447 | 118.505 | 1084.861 | 112.165 | 0.447 | 112.612 | 1153.558 | 118.604 | 0.447 | 119.050 | 3 |  | 5 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 116.276 | 2.507 | 2.915 | 08/03/2017 09:31 | Ella | IO | Unknown | 116.722 | PlasmaSerum | 3 |  | IR | 564.353 | IR | 1128.707 | 564.353
IL-2ra | 0.479 | 689 | 40970 |  | 9134.853 | 1.306 | 119.341 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 9302.870 | 375.979 | 0.479 | 376.458 | 9037.021 | 370.451 | 0.479 | 370.930 | 9064.668 | 371.033 | 0.479 | 371.512 | 3 |  | 5 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 372.488 | 0.666 | 2.480 | 08/03/2017 09:31 | Ella | IO | Unknown | 372.967 | PlasmaSerum | 4 |  | IR | 4567.426 | IR | 9134.853 | 4567.426
GRANA | 0.458 | 689 | 40970 |  | 393.210 | 1.692 | 6.654 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 386.640 | 28.224 | 0.458 | 28.682 | 390.659 | 28.515 | 0.458 | 28.972 | 402.330 | 29.359 | 0.458 | 29.817 | 3 |  | 6 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 28.699 | 1.677 | 0.481 | 08/03/2017 09:31 | Ella | IO | Unknown | 29.157 | PlasmaSerum | 1 |  | IR | 196.605 | IR | 393.210 | 196.605
GRANB | 0.439 | 689 | 40970 |  | 43.349 | 0.623 | 0.270 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 43.322 | 1.768 | 0.439 | 2.206 | 43.032 | 1.756 | 0.439 | 2.195 | 43.692 | 1.782 | 0.439 | 2.221 | 3 |  | 6 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 1.769 | 0.600 | 0.011 | 08/03/2017 09:31 | Ella | IO | Unknown | 2.207 | PlasmaSerum | 2 |  | IR | 21.674 | IR | 43.349 | 21.674
IL-1ra | 0.488 | 689 | 40970 |  | 864.362 | 0.767 | 6.629 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 872.716 | 91.772 | 0.488 | 92.261 | 856.502 | 90.181 | 0.488 | 90.670 | 863.868 | 90.904 | 0.488 | 91.393 | 3 |  | 6 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 90.953 | 0.715 | 0.650 | 08/03/2017 09:31 | Ella | IO | Unknown | 91.441 | PlasmaSerum | 3 |  | IR | 432.181 | IR | 864.362 | 432.181
IL-2ra | 0.501 | 689 | 40970 |  | 7939.518 | 1.687 | 133.937 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 8117.306 | 349.993 | 0.501 | 350.494 | 7794.036 | 342.268 | 0.501 | 342.769 | 7907.213 | 345.006 | 0.501 | 345.507 | 3 |  | 6 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 345.756 | 0.925 | 3.198 | 08/03/2017 09:31 | Ella | IO | Unknown | 346.257 | PlasmaSerum | 4 |  | IR | 3969.759 | IR | 7939.518 | 3969.759
GRANA | 0.452 | 689 | 40970 |  | 255.498 | 0.859 | 2.196 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 256.045 | 18.742 | 0.452 | 19.194 | 252.577 | 18.490 | 0.452 | 18.942 | 257.871 | 18.875 | 0.452 | 19.327 | 3 |  | 7 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 18.702 | 0.855 | 0.160 | 08/03/2017 09:31 | Ella | IO | Unknown | 19.155 | PlasmaSerum | 1 |  | IR | 127.749 | IR | 255.498 | 127.749
GRANB | 0.440 | 689 | 40970 |  | 20.472 | 1.492 | 0.306 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 20.789 | 0.884 | 0.440 | 1.324 | 20.059 | 0.855 | 0.440 | 1.296 | 20.566 | 0.875 | 0.440 | 1.315 | 3 |  | 7 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.871 | 1.369 | 0.012 | 08/03/2017 09:31 | Ella | IO | Unknown | 1.312 | PlasmaSerum | 2 |  | IR | 10.236 | IR | 20.472 | 10.236
IL-1ra | 0.484 | 689 | 40970 |  | 810.467 | 1.137 | 9.219 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 818.540 | 86.439 | 0.484 | 86.923 | 797.565 | 84.360 | 0.484 | 84.844 | 815.295 | 86.117 | 0.484 | 86.602 | 3 |  | 7 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 85.639 | 1.067 | 0.914 | 08/03/2017 09:31 | Ella | IO | Unknown | 86.123 | PlasmaSerum | 3 |  | IR | 405.233 | IR | 810.467 | 405.233
IL-2ra | 0.487 | 689 | 40970 |  | 7264.546 | 4.732 | 343.769 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 7247.205 | 328.502 | 0.487 | 328.989 | 6852.455 | 317.975 | 0.487 | 318.462 | 7693.978 | 339.817 | 0.487 | 340.304 | 3 |  | 7 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 328.765 | 2.713 | 8.919 | 08/03/2017 09:31 | Ella | IO | Unknown | 329.252 | PlasmaSerum | 4 |  | IR | 3632.273 | IR | 7264.546 | 3632.273
GRANA | 0.450 | 689 | 40970 |  | 254.672 | 0.366 | 0.932 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 253.515 | 18.558 | 0.450 | 19.008 | 254.704 | 18.645 | 0.450 | 19.094 | 255.798 | 18.724 | 0.450 | 19.174 | 3 |  | 8 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 18.642 | 0.364 | 0.068 | 08/03/2017 09:31 | Ella | IO | Unknown | 19.092 | PlasmaSerum | 1 |  | IR | 127.336 | IR | 254.672 | 127.336
GRANB | 0.466 | 689 | 40970 |  | 10.662 | 5.249 | 0.560 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 11.444 | 0.520 | 0.466 | 0.986 | 10.380 | 0.479 | 0.466 | 0.945 | 10.163 | 0.471 | 0.466 | 0.937 | 3 |  | 8 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.490 | 4.417 | 0.022 | 08/03/2017 09:31 | Ella | IO | Unknown | 0.956 | PlasmaSerum | 2 |  | IR | 5.331 | IR | 10.662 | 5.331
IL-1ra | 0.447 | 689 | 40970 |  | 295.229 | 0.625 | 1.845 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 296.641 | 32.455 | 0.447 | 32.902 | 296.422 | 32.431 | 0.447 | 32.878 | 292.623 | 32.022 | 0.447 | 32.469 | 3 |  | 8 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 32.303 | 0.615 | 0.199 | 08/03/2017 09:31 | Ella | IO | Unknown | 32.750 | PlasmaSerum | 3 |  | IR | 147.614 | IR | 295.229 | 147.614
IL-2ra | 0.521 | 689 | 40970 |  | 5322.073 | 5.572 | 296.540 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 5589.927 | 280.514 | 0.521 | 281.036 | 5467.599 | 276.542 | 0.521 | 277.063 | 4908.692 | 257.519 | 0.521 | 258.041 | 3 |  | 8 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 271.525 | 3.696 | 10.035 | 08/03/2017 09:31 | Ella | IO | Unknown | 272.046 | PlasmaSerum | 4 |  | IR | 2661.036 | IR | 5322.073 | 2661.036
GRANA | 0.451 | 689 | 40970 |  | 371.221 | 1.909 | 7.086 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 380.243 | 27.761 | 0.451 | 28.212 | 370.487 | 27.054 | 0.451 | 27.505 | 362.932 | 26.507 | 0.451 | 26.958 | 3 |  | 9 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 27.107 | 1.893 | 0.513 | 08/03/2017 09:31 | Ella | IO | Unknown | 27.558 | PlasmaSerum | 1 |  | IR | 185.610 | IR | 371.221 | 185.610
GRANB | 0.434 | 689 | 40970 |  | 12.952 | 4.909 | 0.636 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 13.772 | 0.611 | 0.434 | 1.044 | 12.864 | 0.575 | 0.434 | 1.009 | 12.222 | 0.550 | 0.434 | 0.984 | 3 |  | 9 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.579 | 4.261 | 0.025 | 08/03/2017 09:31 | Ella | IO | Unknown | 1.013 | PlasmaSerum | 2 |  | IR | 6.476 | IR | 12.952 | 6.476
IL-1ra | 0.444 | 689 | 40970 |  | 224.553 | 2.429 | 5.454 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 231.255 | 25.388 | 0.444 | 25.833 | 224.510 | 24.656 | 0.444 | 25.101 | 217.895 | 23.938 | 0.444 | 24.383 | 3 |  | 9 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 24.661 | 2.400 | 0.592 | 08/03/2017 09:31 | Ella | IO | Unknown | 25.105 | PlasmaSerum | 3 |  | IR | 112.277 | IR | 224.553 | 112.277
IL-2ra | 0.499 | 689 | 40970 |  | 2239.302 | 10.235 | 229.184 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 2366.726 | 148.396 | 0.499 | 148.895 | 2433.680 | 151.853 | 0.499 | 152.352 | 1917.499 | 124.204 | 0.499 | 124.703 | 3 |  | 9 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 141.484 | 8.694 | 12.300 | 08/03/2017 09:31 | Ella | IO | Unknown | 141.983 | PlasmaSerum | 4 |  | IR | 1119.651 | IR | 2239.302 | 1119.651
GRANA | 0.437 | 689 | 40970 |  | 83.767 | 3.401 | 2.849 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 81.833 | 6.056 | 0.437 | 6.493 | 87.795 | 6.489 | 0.437 | 6.926 | 81.671 | 6.045 | 0.437 | 6.482 | 3 |  | 10 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 6.197 | 3.338 | 0.207 | 08/03/2017 09:31 | Ella | 1 | Unknown | 6.634 | PlasmaSerum | 1 |  | IR | 41.883 | IR | 83.767 | 41.883
GRANB | 0.425 | 689 | 40970 |  | 9.842 | 3.015 | 0.297 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 10.135 | 0.470 | 0.425 | 0.894 | 9.956 | 0.463 | 0.425 | 0.887 | 9.436 | 0.443 | 0.425 | 0.867 | 3 |  | 10 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.458 | 2.500 | 0.011 | 08/03/2017 09:31 | Ella | 1 | Unknown | 0.883 | PlasmaSerum | 2 |  | IR | 4.921 | IR | 9.842 | 4.921
IL-1ra | 0.459 | 689 | 40970 |  | 173.363 | 2.055 | 3.563 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 177.606 | 19.556 | 0.459 | 20.015 | 173.594 | 19.119 | 0.459 | 19.578 | 168.889 | 18.606 | 0.459 | 19.065 | 3 |  | 10 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 19.093 | 2.033 | 0.388 | 08/03/2017 09:31 | Ella | 1 | Unknown | 19.553 | PlasmaSerum | 3 |  | IR | 86.681 | IR | 173.363 | 86.681
IL-2ra | 0.503 | 689 | 40970 |  | 1667.040 | 10.079 | 168.017 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 1431.871 | 95.984 | 0.503 | 96.487 | 1814.056 | 118.379 | 0.503 | 118.882 | 1755.193 | 115.020 | 0.503 | 115.523 | 3 |  | 10 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 109.794 | 8.981 | 9.861 | 08/03/2017 09:31 | Ella | 1 | Unknown | 110.297 | PlasmaSerum | 4 |  | IR | 833.520 | IR | 1667.040 | 833.520
GRANA | 0.445 | 689 | 40970 |  | 85.175 | 5.247 | 4.469 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 83.204 | 6.156 | 0.445 | 6.601 | 91.361 | 6.748 | 0.445 | 7.193 | 80.960 | 5.993 | 0.445 | 6.438 | 3 |  | 11 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 6.299 | 5.151 | 0.324 | 08/03/2017 09:31 | Ella | 2 | Unknown | 6.744 | PlasmaSerum | 1 |  | IR | 42.587 | IR | 85.175 | 42.587
GRANB | 0.434 | 689 | 40970 |  | 2.252 | 5.932 | 0.134 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 2.242 | 0.168 | 0.434 | 0.602 | 2.421 | 0.175 | 0.434 | 0.608 | 2.094 | 0.162 | 0.434 | 0.596 | 3 |  | 11 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.168 | 2.988 | 0.005 | 08/03/2017 09:31 | Ella | 2 | Unknown | 0.602 | PlasmaSerum | 2 |  | IR | 1.126 | IR | 2.252 | 1.126
IL-1ra | 0.444 | 689 | 40970 |  | 375.441 | 1.840 | 6.909 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 381.073 | 41.494 | 0.444 | 41.937 | 379.540 | 41.331 | 0.444 | 41.774 | 365.711 | 39.857 | 0.444 | 40.301 | 3 |  | 11 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 40.894 | 1.800 | 0.736 | 08/03/2017 09:31 | Ella | 2 | Unknown | 41.337 | PlasmaSerum | 3 |  | IR | 187.721 | IR | 375.441 | 187.721
IL-2ra | 0.555 | 689 | 40970 |  | 805.047 | 2.469 | 19.880 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 806.970 | 56.264 | 0.555 | 56.819 | 828.376 | 57.690 | 0.555 | 58.245 | 779.794 | 54.448 | 0.555 | 55.003 | 3 |  | 11 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 56.134 | 2.364 | 1.327 | 08/03/2017 09:31 | Ella | 2 | Unknown | 56.689 | PlasmaSerum | 4 |  | IR | 402.523 | IR | 805.047 | 402.523
GRANA | 0.424 | 689 | 40970 |  | 87.140 | 1.777 | 1.548 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 89.189 | 6.590 | 0.424 | 7.014 | 86.782 | 6.416 | 0.424 | 6.839 | 85.448 | 6.319 | 0.424 | 6.742 | 3 |  | 12 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 6.442 | 1.745 | 0.112 | 08/03/2017 09:31 | Ella | 3 | Unknown | 6.865 | PlasmaSerum | 1 |  | IR | 43.570 | IR | 87.140 | 43.570
GRANB | 0.421 | 689 | 40970 |  | 2.690 | 3.717 | 0.100 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 2.549 | 0.179 | 0.421 | 0.601 | 2.775 | 0.188 | 0.421 | 0.609 | 2.745 | 0.187 | 0.421 | 0.608 | 3 |  | 12 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.185 | 2.043 | 0.004 | 08/03/2017 09:31 | Ella | 3 | Unknown | 0.606 | PlasmaSerum | 2 |  | IR | 1.345 | IR | 2.690 | 1.345
IL-1ra | 0.440 | 689 | 40970 |  | 148.869 | 2.690 | 4.004 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 148.694 | 16.404 | 0.440 | 16.843 | 153.858 | 16.967 | 0.440 | 17.407 | 144.054 | 15.898 | 0.440 | 16.337 | 3 |  | 12 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 16.423 | 2.660 | 0.437 | 08/03/2017 09:31 | Ella | 3 | Unknown | 16.862 | PlasmaSerum | 3 |  | IR | 74.434 | IR | 148.869 | 74.434
IL-2ra | 0.494 | 689 | 40970 |  | 151.077 | 43.470 | 65.674 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 85.403 | 5.988 | 0.494 | 6.482 | 216.752 | 15.334 | 0.494 | 15.828 |  |  |  |  | 2 |  | 12 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 10.661 | 43.833 | 4.673 | 08/03/2017 09:31 | Ella | 3 | Unknown | 11.155 | PlasmaSerum | 4 |  | IR | 75.539 | IR | 151.077 | 75.539
GRANA | 0.439 | 689 | 40970 |  | 88.079 | 1.953 | 1.720 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 87.796 | 6.489 | 0.439 | 6.928 | 90.314 | 6.672 | 0.439 | 7.111 | 86.129 | 6.368 | 0.439 | 6.807 | 3 |  | 13 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 6.510 | 1.919 | 0.125 | 08/03/2017 09:31 | Ella | 4 | Unknown | 6.949 | PlasmaSerum | 1 |  | IR | 44.040 | IR | 88.079 | 44.040
GRANB | 0.422 | 689 | 40970 |  | 1.570 | 12.793 | 0.201 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 1.527 | 0.141 | 0.422 | 0.563 | 1.834 | 0.152 | 0.422 | 0.574 | 1.348 | 0.134 | 0.422 | 0.556 | 3 |  | 13 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.143 | 5.263 | 0.008 | 08/03/2017 09:31 | Ella | 4 | Unknown | 0.564 | PlasmaSerum | 2 |  | IR | 0.785 | IR | 1.570 | 0.785
IL-1ra | 0.425 | 689 | 40970 |  | 173.005 | 1.890 | 3.271 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 172.254 | 18.973 | 0.425 | 19.398 | 177.333 | 19.526 | 0.425 | 19.951 | 169.428 | 18.665 | 0.425 | 19.090 | 3 |  | 13 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 19.054 | 1.870 | 0.356 | 08/03/2017 09:31 | Ella | 4 | Unknown | 19.479 | PlasmaSerum | 3 |  | IR | 86.503 | IR | 173.005 | 86.503
IL-2ra | 0.498 | 689 | 40970 |  | 962.960 | 1.075 | 10.348 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 972.309 | 67.156 | 0.498 | 67.654 | 968.034 | 66.878 | 0.498 | 67.376 | 948.535 | 65.607 | 0.498 | 66.105 | 3 |  | 13 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 66.547 | 1.013 | 0.674 | 08/03/2017 09:31 | Ella | 4 | Unknown | 67.045 | PlasmaSerum | 4 |  | IR | 481.480 | IR | 962.960 | 481.480
GRANA | 0.427 | 689 | 40970 |  | 70.569 | 0.547 | 0.386 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 70.956 | 5.268 | 0.427 | 5.695 | 70.183 | 5.212 | 0.427 | 5.639 |  |  |  |  | 2 |  | 14 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 5.240 | 0.534 | 0.028 | 08/03/2017 09:31 | Ella | IO | Unknown | 5.667 | PlasmaSerum | 1 |  | IR | 35.285 | IR | 70.569 | 35.285
GRANB | 0.422 | 689 | 40970 |  | 9.069 | 8.451 | 0.766 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False |  |  |  |  | 9.836 | 0.458 | 0.422 | 0.880 | 8.303 | 0.399 | 0.422 | 0.821 | 2 |  | 14 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 0.429 | 6.896 | 0.030 | 08/03/2017 09:31 | Ella | IO | Unknown | 0.850 | PlasmaSerum | 2 |  | IR | 4.535 | IR | 9.069 | 4.535
IL-1ra | 0.430 | 689 | 40970 |  | 106.214 | 1.900 | 2.018 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 105.182 | 11.656 | 0.430 | 12.086 | 109.035 | 12.077 | 0.430 | 12.507 | 104.426 | 11.574 | 0.430 | 12.004 | 3 |  | 14 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 11.769 | 1.870 | 0.220 | 08/03/2017 09:31 | Ella | IO | Unknown | 12.199 | PlasmaSerum | 3 |  | IR | 53.107 | IR | 106.214 | 53.107
IL-2ra | 0.501 | 689 | 40970 |  | 593.501 | 0.608 | 3.611 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 591.822 | 41.687 | 0.501 | 42.187 | 598.518 | 42.147 | 0.501 | 42.648 | 590.164 | 41.573 | 0.501 | 42.073 | 3 |  | 14 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 41.802 | 0.594 | 0.248 | 08/03/2017 09:31 | Ella | IO | Unknown | 42.303 | PlasmaSerum | 4 |  | IR | 296.750 | IR | 593.501 | 296.750
GRANA | 0.703 | 689 | 40970 |  | 14370.420 | 3.113 | 447.348 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 14065.688 | 631.116 | 0.703 | 631.819 | 15002.925 | 654.722 | 0.703 | 655.425 | 14042.647 | 630.518 | 0.703 | 631.222 | 3 |  | 15 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 638.785 | 1.765 | 11.271 | 08/03/2017 09:31 | Ella | IO | Unknown | 639.489 | PlasmaSerum | 1 |  | IR | 7185.210 | IR | 14370.420 | 7185.210
GRANB | 0.470 | 689 | 40970 |  | 3435.405 | 4.614 | 158.493 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 3309.492 | 90.302 | 0.470 | 90.772 | 3658.952 | 96.309 | 0.470 | 96.779 | 3337.772 | 90.805 | 0.470 | 91.275 | 3 |  | 15 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 92.472 | 2.943 | 2.721 | 08/03/2017 09:31 | Ella | IO | Unknown | 92.942 | PlasmaSerum | 2 |  | IR | 1717.703 | IR | 3435.405 | 1717.703
IL-1ra | 0.552 | 689 | 40970 |  | 3183.512 | 1.249 | 39.763 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 3127.710 | 273.985 | 0.552 | 274.537 | 3217.435 | 279.899 | 0.552 | 280.451 | 3205.391 | 279.110 | 0.552 | 279.662 | 3 |  | 15 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 277.664 | 0.944 | 2.622 | 08/03/2017 09:31 | Ella | IO | Unknown | 278.216 | PlasmaSerum | 3 |  | IR | 1591.756 | IR | 3183.512 | 1591.756
IL-2ra | 0.832 | 689 | 40970 |  | 3413.606 | 1.027 | 35.067 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 3364.181 | 196.295 | 0.832 | 197.127 | 3441.852 | 199.722 | 0.832 | 200.554 | 3434.785 | 199.412 | 0.832 | 200.243 | 3 |  | 15 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 198.476 | 0.780 | 1.547 | 08/03/2017 09:31 | Ella | IO | Unknown | 199.308 | PlasmaSerum | 4 |  | IR | 1706.803 | IR | 3413.606 | 1706.803
GRANA | 0.433 | 689 | 40970 |  | 310.900 | 2.169 | 6.743 | 1 | 0.200 | 1.018 | 9522.865 | 1434.710 | 1.052 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 305.222 | 22.319 | 0.433 | 22.752 | 320.374 | 23.420 | 0.433 | 23.853 | 307.104 | 22.456 | 0.433 | 22.889 | 3 |  | 16 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 22.731 | 2.155 | 0.490 | 08/03/2017 09:31 | Ella | IO | Unknown | 23.165 | PlasmaSerum | 1 |  | IR | 155.450 | IR | 310.900 | 155.450
GRANB | 0.428 | 689 | 40970 |  | 69.147 | 3.399 | 2.351 | 2 | 0.085 | 1.019 | 2845.392 | 256.232 | 0.955 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 70.054 | 2.820 | 0.428 | 3.248 | 71.463 | 2.875 | 0.428 | 3.304 | 65.924 | 2.657 | 0.428 | 3.086 | 3 |  | 16 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 2.784 | 3.323 | 0.093 | 08/03/2017 09:31 | Ella | IO | Unknown | 3.213 | PlasmaSerum | 2 |  | IR | 34.574 | IR | 69.147 | 34.574
IL-1ra | 0.440 | 689 | 40970 |  | 65.771 | 4.468 | 2.939 | 3 | 0.375 | 1.029 | 3270.338 | 1322.695 | 0.604 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 63.065 | 7.072 | 0.440 | 7.512 | 69.856 | 7.810 | 0.440 | 8.249 | 64.392 | 7.216 | 0.440 | 7.656 | 3 |  | 16 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 7.366 | 4.332 | 0.319 | 08/03/2017 09:31 | Ella | IO | Unknown | 7.806 | PlasmaSerum | 3 |  | IR | 32.885 | IR | 65.771 | 32.885
IL-2ra | 0.447 | 689 | 40970 |  | 67.581 | 1.746 | 1.180 | 4 | 0.134 | 1.038 | 4451.461 | 734.769 | 1.001 | 840 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 66.954 | 4.689 | 0.447 | 5.136 | 69.234 | 4.849 | 0.447 | 5.296 | 66.554 | 4.661 | 0.447 | 5.108 | 3 |  | 16 | Ella-16030074 | 37200 | 7cacb33f-17bd-4a81-9b91-bc369a96671d |  | 3184 |  | 4.733 | 1.751 | 0.083 | 08/03/2017 09:31 | Ella | IO | Unknown | 5.180 | PlasmaSerum | 4 |  | IR | 33.790 | IR | 67.581 | 33.790

## Summary 1
Analyte 1 (GRANA)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | 0.448 | 9.256 | 8.831 | 8.923 | 9.452 | 2.029 | 9.704 | 9.279 | 9.371 | 9.003 | 125.839 | 119.996 | 121.267 | 122.368 | 2.051
2 | IO | 0.44 | 4.97 | 4.073 | 4.422 | 4.928 | 8.226 | 5.41 | 4.513 | 4.862 | 4.488 | 66.845 | 54.441 | 59.274 | 60.187 | 8.481
3 | IO | 0.459 | 6.73 | 6.602 | 6.621 | 7.11 | 0.845 | 7.188 | 7.061 | 7.079 | 6.651 | 91.108 | 89.354 | 89.607 | 90.023 | 0.86
4 | IO | 0.462 | 17.915 | 17.241 | 17.442 | 17.995 | 1.611 | 18.377 | 17.704 | 17.904 | 17.533 | 244.681 | 235.429 | 238.183 | 239.431 | 1.62
5 | IO | 0.435 | 38.403 | 36.926 | 38.697 | 38.444 | 2.039 | 38.838 | 37.361 | 39.132 | 38.009 | 527.855 | 507.288 | 531.96 | 522.368 | 2.066
6 | IO | 0.458 | 28.224 | 28.515 | 29.359 | 29.157 | 1.677 | 28.682 | 28.972 | 29.817 | 28.699 | 386.64 | 390.659 | 402.33 | 393.21 | 1.692
7 | IO | 0.452 | 18.742 | 18.49 | 18.875 | 19.155 | 0.855 | 19.194 | 18.942 | 19.327 | 18.702 | 256.045 | 252.577 | 257.871 | 255.498 | 0.859
8 | IO | 0.45 | 18.558 | 18.645 | 18.724 | 19.092 | 0.364 | 19.008 | 19.094 | 19.174 | 18.642 | 253.515 | 254.704 | 255.798 | 254.672 | 0.366
9 | IO | 0.451 | 27.761 | 27.054 | 26.507 | 27.558 | 1.893 | 28.212 | 27.505 | 26.958 | 27.107 | 380.243 | 370.487 | 362.932 | 371.221 | 1.909
10 | 1 | 0.437 | 6.056 | 6.489 | 6.045 | 6.634 | 3.338 | 6.493 | 6.926 | 6.482 | 6.197 | 81.833 | 87.795 | 81.671 | 83.767 | 3.401
11 | 2 | 0.445 | 6.156 | 6.748 | 5.993 | 6.744 | 5.151 | 6.601 | 7.193 | 6.438 | 6.299 | 83.204 | 91.361 | 80.96 | 85.175 | 5.247
12 | 3 | 0.424 | 6.59 | 6.416 | 6.319 | 6.865 | 1.745 | 7.014 | 6.839 | 6.742 | 6.442 | 89.189 | 86.782 | 85.448 | 87.14 | 1.777
13 | 4 | 0.439 | 6.489 | 6.672 | 6.368 | 6.949 | 1.919 | 6.928 | 7.111 | 6.807 | 6.51 | 87.796 | 90.314 | 86.129 | 88.079 | 1.953
14 | IO | 0.427 | 5.268 | 5.212 | ND | 5.667 | 0.534 | 5.695 | 5.639 | ND | 5.24 | 70.956 | 70.183 | ND | 70.569 | 0.547
15 | IO | 0.703 | 631.116 | 654.722 | 630.518 | 639.489 | 1.765 | 631.819 | 655.425 | 631.222 | 638.785 | 14065.688 | 15002.925 | 14042.647 | 14370.42 | 3.113
16 | IO | 0.433 | 22.319 | 23.42 | 22.456 | 23.165 | 2.155 | 22.752 | 23.853 | 22.889 | 22.731 | 305.222 | 320.374 | 307.104 | 310.9 | 2.169
Analyte 2 (GRANB)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | 0.444 | 0.739 | 0.712 | 0.715 | 1.166 | 1.649 | 1.183 | 1.156 | 1.159 | 0.722 | 17.071 | 16.388 | 16.462 | 16.64 | 1.838
2 | IO | 0.5 | 0.107 | 0.124 | ND | 0.615 | 7.501 | 0.607 | 0.624 | ND | 0.115 | 0.603 | 1.073 | ND | ND | 27.994
3 | IO | 0.458 | 0.366 | 0.353 | 0.366 | 0.82 | 1.688 | 0.824 | 0.811 | 0.824 | 0.362 | 7.456 | 7.115 | 7.448 | 7.34 | 2.167
4 | IO | 0.443 | 4.353 | 4.177 | 4.338 | 4.732 | 1.86 | 4.796 | 4.62 | 4.781 | 4.289 | 109.074 | 104.572 | 108.674 | 107.44 | 1.893
5 | IO | 0.447 | 7.106 | 6.759 | 6.991 | 7.398 | 2.079 | 7.553 | 7.205 | 7.437 | 6.952 | 179.698 | 170.73 | 176.711 | 175.713 | 2.122
6 | IO | 0.439 | 1.768 | 1.756 | 1.782 | 2.207 | 0.6 | 2.206 | 2.195 | 2.221 | 1.769 | 43.322 | 43.032 | 43.692 | 43.349 | 0.623
7 | IO | 0.44 | 0.884 | 0.855 | 0.875 | 1.312 | 1.369 | 1.324 | 1.296 | 1.315 | 0.871 | 20.789 | 20.059 | 20.566 | 20.472 | 1.492
8 | IO | 0.466 | 0.52 | 0.479 | 0.471 | 0.956 | 4.417 | 0.986 | 0.945 | 0.937 | 0.49 | 11.444 | 10.38 | 10.163 | 10.662 | 5.249
9 | IO | 0.434 | 0.611 | 0.575 | 0.55 | 1.013 | 4.261 | 1.044 | 1.009 | 0.984 | 0.579 | 13.772 | 12.864 | 12.222 | 12.952 | 4.909
10 | 1 | 0.425 | 0.47 | 0.463 | 0.443 | 0.883 | 2.5 | 0.894 | 0.887 | 0.867 | 0.458 | 10.135 | 9.956 | 9.436 | 9.842 | 3.015
11 | 2 | 0.434 | 0.168 | 0.175 | 0.162 | 0.602 | 2.988 | 0.602 | 0.608 | 0.596 | 0.168 | 2.242 | 2.421 | 2.094 | 2.252 | 5.932
12 | 3 | 0.421 | 0.179 | 0.188 | 0.187 | 0.606 | 2.043 | 0.601 | 0.609 | 0.608 | 0.185 | 2.549 | 2.775 | 2.745 | 2.69 | 3.717
13 | 4 | 0.422 | 0.141 | 0.152 | 0.134 | 0.564 | 5.263 | 0.563 | 0.574 | 0.556 | 0.143 | 1.527 | 1.834 | 1.348 | 1.57 | 12.793
14 | IO | ND | ND | 0.458 | 0.399 | 0.85 | 6.896 | ND | 0.88 | 0.821 | 0.429 | ND | 9.836 | 8.303 | 9.069 | 8.451
15 | IO | 0.47 | 90.302 | 96.309 | 90.805 | 92.942 | 2.943 | 90.772 | 96.779 | 91.275 | 92.472 | 3309.492 | 3658.952 | 3337.772 | 3435.405 | 4.614
16 | IO | 0.428 | 2.82 | 2.875 | 2.657 | 3.213 | 3.323 | 3.248 | 3.304 | 3.086 | 2.784 | 70.054 | 71.463 | 65.924 | 69.147 | 3.399
Analyte 3 (IL-1ra)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | 0.444 | 49.251 | 48.18 | 48.177 | 48.979 | 1.041 | 49.694 | 48.624 | 48.62 | 48.536 | 454.363 | 444.2 | 444.165 | 447.576 | 1.072
2 | IO | 0.468 | 29.334 | ND | 30.302 | 30.286 | 1.623 | 29.802 | ND | 30.769 | 29.818 | 267.704 | ND | 276.665 | 272.184 | 1.646
3 | IO | 0.456 | 94.579 | 101.349 | 92.895 | 96.73 | 3.795 | 95.035 | 101.804 | 93.351 | 96.275 | 901.444 | 971.332 | 884.193 | 918.99 | 4.1
4 | IO | 0.498 | 394.435 | 404.86 | 393.323 | 398.037 | 1.307 | 394.933 | 405.358 | 393.821 | 397.539 | 5246.653 | 5463.745 | 5223.856 | 5311.418 | 2.035
5 | IO | 0.447 | 118.058 | 112.165 | 118.604 | 116.722 | 2.507 | 118.505 | 112.612 | 119.05 | 116.276 | 1147.701 | 1084.861 | 1153.558 | 1128.707 | 2.755
6 | IO | 0.488 | 91.772 | 90.181 | 90.904 | 91.441 | 0.715 | 92.261 | 90.67 | 91.393 | 90.953 | 872.716 | 856.502 | 863.868 | 864.362 | 0.767
7 | IO | 0.484 | 86.439 | 84.36 | 86.117 | 86.123 | 1.067 | 86.923 | 84.844 | 86.602 | 85.639 | 818.54 | 797.565 | 815.295 | 810.467 | 1.137
8 | IO | 0.447 | 32.455 | 32.431 | 32.022 | 32.75 | 0.615 | 32.902 | 32.878 | 32.469 | 32.303 | 296.641 | 296.422 | 292.623 | 295.229 | 0.625
9 | IO | 0.444 | 25.388 | 24.656 | 23.938 | 25.105 | 2.4 | 25.833 | 25.101 | 24.383 | 24.661 | 231.255 | 224.51 | 217.895 | 224.553 | 2.429
10 | 1 | 0.459 | 19.556 | 19.119 | 18.606 | 19.553 | 2.033 | 20.015 | 19.578 | 19.065 | 19.093 | 177.606 | 173.594 | 168.889 | 173.363 | 2.055
11 | 2 | 0.444 | 41.494 | 41.331 | 39.857 | 41.337 | 1.8 | 41.937 | 41.774 | 40.301 | 40.894 | 381.073 | 379.54 | 365.711 | 375.441 | 1.84
12 | 3 | 0.44 | 16.404 | 16.967 | 15.898 | 16.862 | 2.66 | 16.843 | 17.407 | 16.337 | 16.423 | 148.694 | 153.858 | 144.054 | 148.869 | 2.69
13 | 4 | 0.425 | 18.973 | 19.526 | 18.665 | 19.479 | 1.87 | 19.398 | 19.951 | 19.09 | 19.054 | 172.254 | 177.333 | 169.428 | 173.005 | 1.89
14 | IO | 0.43 | 11.656 | 12.077 | 11.574 | 12.199 | 1.87 | 12.086 | 12.507 | 12.004 | 11.769 | 105.182 | 109.035 | 104.426 | 106.214 | 1.9
15 | IO | 0.552 | 273.985 | 279.899 | 279.11 | 278.216 | 0.944 | 274.537 | 280.451 | 279.662 | 277.664 | 3127.71 | 3217.435 | 3205.391 | 3183.512 | 1.249
16 | IO | 0.44 | 7.072 | 7.81 | 7.216 | 7.806 | 4.332 | 7.512 | 8.249 | 7.656 | 7.366 | 63.065 | 69.856 | 64.392 | 65.771 | 4.468
Analyte 4 (IL-2ra)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | ND | ND | 106.109 | 107.504 | 107.26 | 0.653 | ND | 106.563 | 107.958 | 106.807 | ND | 1601.721 | 1625.499 | 1613.61 | 0.737
2 | IO | 0.462 | 97.887 | 100.118 | 94.897 | 98.096 | 2.191 | 98.348 | 100.58 | 95.358 | 97.634 | 1463.434 | 1500.657 | 1413.907 | 1459.333 | 2.435
3 | IO | 0.457 | 123.364 | 117.859 | 119.853 | 120.816 | 1.891 | 123.822 | 118.317 | 120.31 | 120.359 | 1902.479 | 1804.919 | 1840.065 | 1849.154 | 2.182
4 | IO | 0.507 | 271.491 | 279.304 | 271.912 | 274.743 | 1.308 | 271.998 | 279.811 | 272.42 | 274.236 | 5314.943 | 5552.44 | 5327.566 | 5398.316 | 2.021
5 | IO | 0.479 | 375.979 | 370.451 | 371.033 | 372.967 | 0.666 | 376.458 | 370.93 | 371.512 | 372.488 | 9302.87 | 9037.021 | 9064.668 | 9134.853 | 1.306
6 | IO | 0.501 | 349.993 | 342.268 | 345.006 | 346.257 | 0.925 | 350.494 | 342.769 | 345.507 | 345.756 | 8117.306 | 7794.036 | 7907.213 | 7939.518 | 1.687
7 | IO | 0.487 | 328.502 | 317.975 | 339.817 | 329.252 | 2.713 | 328.989 | 318.462 | 340.304 | 328.765 | 7247.205 | 6852.455 | 7693.978 | 7264.546 | 4.732
8 | IO | 0.521 | 280.514 | 276.542 | 257.519 | 272.046 | 3.696 | 281.036 | 277.063 | 258.041 | 271.525 | 5589.927 | 5467.599 | 4908.692 | 5322.073 | 5.572
9 | IO | 0.499 | 148.396 | 151.853 | 124.204 | 141.983 | 8.694 | 148.895 | 152.352 | 124.703 | 141.484 | 2366.726 | 2433.68 | 1917.499 | 2239.302 | 10.235
10 | 1 | 0.503 | 95.984 | 118.379 | 115.02 | 110.297 | 8.981 | 96.487 | 118.882 | 115.523 | 109.794 | 1431.871 | 1814.056 | 1755.193 | 1667.04 | 10.079
11 | 2 | 0.555 | 56.264 | 57.69 | 54.448 | 56.689 | 2.364 | 56.819 | 58.245 | 55.003 | 56.134 | 806.97 | 828.376 | 779.794 | 805.047 | 2.469
12 | 3 | 0.494 | 5.988 | 15.334 | ND | 11.155 | 43.833 | 6.482 | 15.828 | ND | 10.661 | 85.403 | 216.752 | ND | 151.077 | 43.47
13 | 4 | 0.498 | 67.156 | 66.878 | 65.607 | 67.045 | 1.013 | 67.654 | 67.376 | 66.105 | 66.547 | 972.309 | 968.034 | 948.535 | 962.96 | 1.075
14 | IO | 0.501 | 41.687 | 42.147 | 41.573 | 42.303 | 0.594 | 42.187 | 42.648 | 42.073 | 41.802 | 591.822 | 598.518 | 590.164 | 593.501 | 0.608
15 | IO | 0.832 | 196.295 | 199.722 | 199.412 | 199.308 | 0.78 | 197.127 | 200.554 | 200.243 | 198.476 | 3364.181 | 3441.852 | 3434.785 | 3413.606 | 1.027
16 | IO | 0.447 | 4.689 | 4.849 | 4.661 | 5.18 | 1.751 | 5.136 | 5.296 | 5.108 | 4.733 | 66.954 | 69.234 | 66.554 | 67.581 | 1.746

## Summary 2
Analyte 1 (GRANA)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | 125.839 | 119.996 | 121.267 | 122.368 | 2.051
2 | IO | 66.845 | 54.441 | 59.274 | 60.187 | 8.481
3 | IO | 91.108 | 89.354 | 89.607 | 90.023 | 0.86
4 | IO | 244.681 | 235.429 | 238.183 | 239.431 | 1.62
5 | IO | 527.855 | 507.288 | 531.96 | 522.368 | 2.066
6 | IO | 386.64 | 390.659 | 402.33 | 393.21 | 1.692
7 | IO | 256.045 | 252.577 | 257.871 | 255.498 | 0.859
8 | IO | 253.515 | 254.704 | 255.798 | 254.672 | 0.366
9 | IO | 380.243 | 370.487 | 362.932 | 371.221 | 1.909
10 | 1 | 81.833 | 87.795 | 81.671 | 83.767 | 3.401
11 | 2 | 83.204 | 91.361 | 80.96 | 85.175 | 5.247
12 | 3 | 89.189 | 86.782 | 85.448 | 87.14 | 1.777
13 | 4 | 87.796 | 90.314 | 86.129 | 88.079 | 1.953
14 | IO | 70.956 | 70.183 | ND | 70.569 | 0.547
15 | IO | 14065.688 | 15002.925 | 14042.647 | 14370.42 | 3.113
16 | IO | 305.222 | 320.374 | 307.104 | 310.9 | 2.169
Analyte 2 (GRANB)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | 17.071 | 16.388 | 16.462 | 16.64 | 1.838
2 | IO | 0.603 | 1.073 | ND | ND | 27.994
3 | IO | 7.456 | 7.115 | 7.448 | 7.34 | 2.167
4 | IO | 109.074 | 104.572 | 108.674 | 107.44 | 1.893
5 | IO | 179.698 | 170.73 | 176.711 | 175.713 | 2.122
6 | IO | 43.322 | 43.032 | 43.692 | 43.349 | 0.623
7 | IO | 20.789 | 20.059 | 20.566 | 20.472 | 1.492
8 | IO | 11.444 | 10.38 | 10.163 | 10.662 | 5.249
9 | IO | 13.772 | 12.864 | 12.222 | 12.952 | 4.909
10 | 1 | 10.135 | 9.956 | 9.436 | 9.842 | 3.015
11 | 2 | 2.242 | 2.421 | 2.094 | 2.252 | 5.932
12 | 3 | 2.549 | 2.775 | 2.745 | 2.69 | 3.717
13 | 4 | 1.527 | 1.834 | 1.348 | 1.57 | 12.793
14 | IO | ND | 9.836 | 8.303 | 9.069 | 8.451
15 | IO | 3309.492 | 3658.952 | 3337.772 | 3435.405 | 4.614
16 | IO | 70.054 | 71.463 | 65.924 | 69.147 | 3.399
Analyte 3 (IL-1ra)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | 454.363 | 444.2 | 444.165 | 447.576 | 1.072
2 | IO | 267.704 | ND | 276.665 | 272.184 | 1.646
3 | IO | 901.444 | 971.332 | 884.193 | 918.99 | 4.1
4 | IO | 5246.653 | 5463.745 | 5223.856 | 5311.418 | 2.035
5 | IO | 1147.701 | 1084.861 | 1153.558 | 1128.707 | 2.755
6 | IO | 872.716 | 856.502 | 863.868 | 864.362 | 0.767
7 | IO | 818.54 | 797.565 | 815.295 | 810.467 | 1.137
8 | IO | 296.641 | 296.422 | 292.623 | 295.229 | 0.625
9 | IO | 231.255 | 224.51 | 217.895 | 224.553 | 2.429
10 | 1 | 177.606 | 173.594 | 168.889 | 173.363 | 2.055
11 | 2 | 381.073 | 379.54 | 365.711 | 375.441 | 1.84
12 | 3 | 148.694 | 153.858 | 144.054 | 148.869 | 2.69
13 | 4 | 172.254 | 177.333 | 169.428 | 173.005 | 1.89
14 | IO | 105.182 | 109.035 | 104.426 | 106.214 | 1.9
15 | IO | 3127.71 | 3217.435 | 3205.391 | 3183.512 | 1.249
16 | IO | 63.065 | 69.856 | 64.392 | 65.771 | 4.468
Analyte 4 (IL-2ra)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | IO | ND | 1601.721 | 1625.499 | 1613.61 | 0.737
2 | IO | 1463.434 | 1500.657 | 1413.907 | 1459.333 | 2.435
3 | IO | 1902.479 | 1804.919 | 1840.065 | 1849.154 | 2.182
4 | IO | 5314.943 | 5552.44 | 5327.566 | 5398.316 | 2.021
5 | IO | 9302.87 | 9037.021 | 9064.668 | 9134.853 | 1.306
6 | IO | 8117.306 | 7794.036 | 7907.213 | 7939.518 | 1.687
7 | IO | 7247.205 | 6852.455 | 7693.978 | 7264.546 | 4.732
8 | IO | 5589.927 | 5467.599 | 4908.692 | 5322.073 | 5.572
9 | IO | 2366.726 | 2433.68 | 1917.499 | 2239.302 | 10.235
10 | 1 | 1431.871 | 1814.056 | 1755.193 | 1667.04 | 10.079
11 | 2 | 806.97 | 828.376 | 779.794 | 805.047 | 2.469
12 | 3 | 85.403 | 216.752 | ND | 151.077 | 43.47
13 | 4 | 972.309 | 968.034 | 948.535 | 962.96 | 1.075
14 | IO | 591.822 | 598.518 | 590.164 | 593.501 | 0.608
15 | IO | 3364.181 | 3441.852 | 3434.785 | 3413.606 | 1.027
16 | IO | 66.954 | 69.234 | 66.554 | 67.581 | 1.746

## Summary 3
CalculatedConcentration
Sample | GRANA | GRANB | IL-1ra | IL-2ra
1 | 122.368 | 16.64 | 447.576 | 1613.61
2 | 60.187 | ND | 272.184 | 1459.333
3 | 90.023 | 7.34 | 918.99 | 1849.154
4 | 239.431 | 107.44 | 5311.418 | 5398.316
5 | 522.368 | 175.713 | 1128.707 | 9134.853
6 | 393.21 | 43.349 | 864.362 | 7939.518
7 | 255.498 | 20.472 | 810.467 | 7264.546
8 | 254.672 | 10.662 | 295.229 | 5322.073
9 | 371.221 | 12.952 | 224.553 | 2239.302
10 | 83.767 | 9.842 | 173.363 | 1667.04
11 | 85.175 | 2.252 | 375.441 | 805.047
12 | 87.14 | 2.69 | 148.869 | 151.077
13 | 88.079 | 1.57 | 173.005 | 962.96
14 | 70.569 | 9.069 | 106.214 | 593.501
15 | 14370.42 | 3435.405 | 3183.512 | 3413.606
16 | 310.9 | 69.147 | 65.771 | 67.581
Curve Coefficients
| GRANA | GRANB | IL-1ra | IL-2ra
A | 0.2 | 0.085 | 0.375 | 0.134
B | 1.018 | 1.019 | 1.029 | 1.038
C | 9522.865 | 2845.392 | 3270.338 | 4451.461
D | 1434.71 | 256.232 | 1322.695 | 734.769
G | 1.052 | 0.955 | 0.604 | 1.001
| 0.1 | 0.1 | 0.1 | 0.1
| 1 | 1 | 1 | 1
| 10 | 1.57 | 10 | 10
| 60.187 | 2.252 | 65.771 | 67.581
| 70.569 | 2.69 | 100 | 100
| 83.767 | 7.34 | 106.214 | 151.077
| 85.175 | 9.069 | 148.869 | 593.501
| 87.14 | 9.842 | 173.005 | 805.047
| 88.079 | 10 | 173.363 | 962.96
| 90.023 | 10.662 | 224.553 | 1000
| 100 | 12.952 | 272.184 | 1459.333
| 122.368 | 16.64 | 295.229 | 1613.61
| 239.431 | 20.472 | 375.441 | 1667.04
| 254.672 | 43.349 | 447.576 | 1849.154
| 255.498 | 69.147 | 810.467 | 2239.302
| 310.9 | 100 | 864.362 | 3413.606
| 371.221 | 107.44 | 918.99 | 5322.073
| 393.21 | 175.713 | 1000 | 5398.316
| 522.368 | 1000 | 1128.707 | 7264.546
| 1000 | 3435.405 | 3183.512 | 7939.518
| 10000 | 10000 | 5311.418 | 9134.853
| 14370.42 | 0.092075 | 10000 | 10000
| 0.21289 | 0.15889 | 0.39307 | 0.145
| 0.33437 | 0.20199 | 0.5681 | 0.25403
| 1.5993 | 0.25393 | 2.4354 | 1.4419
| 8.8557 | 0.28744 | 14.5138 | 9.534
| 10.3674 | 0.6472 | 21.97 | 14.1619
| 12.2903 | 0.78205 | 23.3204 | 21.4443
| 12.4955 | 0.84246 | 32.545 | 80.9642
| 12.7818 | 0.85481 | 37.7234 | 106.6904
| 12.9187 | 0.9066 | 37.8 | 124.7702
| 13.202 | 1.086 | 48.6661 | 128.8778
| 14.6559 | 1.3757 | 58.624 | 175.9363
| 17.914 | 1.6773 | 63.3866 | 190.2649
| 34.8719 | 3.4802 | 79.6757 | 195.0694
| 37.0635 | 5.5043 | 93.9395 | 210.8675
| 37.1822 | 7.9003 | 160.3534 | 241.95
| 45.1108 | 8.4734 | 169.5009 | 317.3978
| 53.6727 | 13.6371 | 178.5967 | 401.6713
| 56.7746 | 63.1668 | 191.7683 | 404.3585
| 74.7804 | 136.2053 | 211.949 | 459.1306
| 138.0937 | 196.582 | 445.4501 | 474.8278
| 760.9436 |  | 588.2131 | 498.7387
| 892.2313 |  | 763.585 | 513.5331