## Raw data
AnalyteName | Background | BufferId | CartridgeId | CartridgeComments | CalculatedConcentration | CalculatedConcentrationInRange | CalculatedConcentrationPercentCV | CalculatedConcentrationStdDev | ChannelNumber | CurveCoefficientA | CurveCoefficientB | CurveCoefficientC | CurveCoefficientD | CurveCoefficientG | DiluentId | DilutionFactor | GnrFilter | GnrFilterCVPercentThreshold | IsSampleStdDev | Gnr1CalculatedConcentration | Gnr1RFU | Gnr1Background | Gnr1Signal | Gnr2CalculatedConcentration | Gnr2RFU | Gnr2Background | Gnr2Signal | Gnr3CalculatedConcentration | Gnr3RFU | Gnr3Background | Gnr3Signal | GnrCount | InletComment | InletNumber | InstrumentName | KitId | KitGuid | KnownConcentration | LotNumber | PercentRecovery | RFU | RFUPercentCV | RFUStdDev | RunDate | RunUserName | Sample | SampleType | Signal | SpecimenTypes
CXCL10 | 0.470 | 689 | 34146 |  | 28.504 | IR | 2.269 | 0.647 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 29.351 | 11.318 | 0.470 | 11.788 | 27.781 | 10.650 | 0.470 | 11.119 | 28.381 | 10.905 | 0.470 | 11.374 | 3 |  | 1 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 10.958 | 2.514 | 0.275 | 07/12/2017 09:56 | Ella | 4837 | Unknown | 11.427 | PlasmaSerum
IFNg | 0.451 | 689 | 34146 |  | 9.147 | IR | 5.839 | 0.534 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 9.509 | 1.972 | 0.451 | 2.423 | 9.540 | 1.978 | 0.451 | 2.429 | 8.392 | 1.769 | 0.451 | 2.220 | 3 |  | 1 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.906 | 5.099 | 0.097 | 07/12/2017 09:56 | Ella | 4837 | Unknown | 2.357 | PlasmaSerum
IL-6 | 0.449 | 689 | 34146 |  | 4.436 | IR | 3.983 | 0.177 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 4.187 | 0.624 | 0.449 | 1.072 | 4.580 | 0.675 | 0.449 | 1.124 | 4.542 | 0.670 | 0.449 | 1.119 | 3 |  | 1 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 0.656 | 3.551 | 0.023 | 07/12/2017 09:56 | Ella | 4837 | Unknown | 1.105 | PlasmaSerum
IL-8 | 0.462 | 689 | 34146 |  | 54.939 | IR | 1.034 | 0.568 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 55.690 | 27.056 | 0.462 | 27.518 | 54.809 | 26.623 | 0.462 | 27.085 | 54.318 | 26.383 | 0.462 | 26.845 | 3 |  | 1 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 26.687 | 1.044 | 0.279 | 07/12/2017 09:56 | Ella | 4837 | Unknown | 27.149 | PlasmaSerum
CXCL10 | 0.458 | 689 | 34146 |  | 129.251 | IR | 2.784 | 3.599 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 134.320 | 60.147 | 0.458 | 60.605 | 126.323 | 56.296 | 0.458 | 56.754 | 127.109 | 56.674 | 0.458 | 57.132 | 3 |  | 2 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 57.706 | 3.003 | 1.733 | 07/12/2017 09:56 | Ella | 90459 | Unknown | 58.164 | PlasmaSerum
IFNg | 0.453 | 689 | 34146 |  | 18.185 | IR | 10.552 | 1.919 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 19.464 | 3.795 | 0.453 | 4.247 | 15.473 | 3.062 | 0.453 | 3.515 | 19.619 | 3.823 | 0.453 | 4.276 | 3 |  | 2 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 3.560 | 9.897 | 0.352 | 07/12/2017 09:56 | Ella | 90459 | Unknown | 4.013 | PlasmaSerum
IL-6 | 0.449 | 689 | 34146 |  | 8.374 | IR | 0.514 | 0.043 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 8.331 | 1.167 | 0.449 | 1.615 |  |  |  |  | 8.417 | 1.178 | 0.449 | 1.627 | 2 |  | 2 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.172 | 0.478 | 0.006 | 07/12/2017 09:56 | Ella | 90459 | Unknown | 1.621 | PlasmaSerum
IL-8 | 0.464 | 689 | 34146 |  | 215.198 | IR | 3.288 | 7.075 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 218.099 | 106.085 | 0.464 | 106.549 | 205.455 | 100.014 | 0.464 | 100.478 | 222.041 | 107.974 | 0.464 | 108.438 | 3 |  | 2 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 104.691 | 3.243 | 3.396 | 07/12/2017 09:56 | Ella | 90459 | Unknown | 105.155 | PlasmaSerum
CXCL10 | 0.465 | 689 | 34146 |  | 478.594 | IR | 0.603 | 2.885 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 477.812 | 221.057 | 0.465 | 221.523 | 482.452 | 223.097 | 0.465 | 223.562 | 475.516 | 220.047 | 0.465 | 220.512 | 3 |  | 3 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 221.400 | 0.573 | 1.268 | 07/12/2017 09:56 | Ella | 89822 | Unknown | 221.866 | PlasmaSerum
IFNg | 0.456 | 689 | 34146 |  | 5.565 | IR | 2.195 | 0.122 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 5.396 | 1.226 | 0.456 | 1.681 | 5.682 | 1.277 | 0.456 | 1.733 | 5.616 | 1.265 | 0.456 | 1.721 | 3 |  | 3 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.256 | 1.757 | 0.022 | 07/12/2017 09:56 | Ella | 89822 | Unknown | 1.712 | PlasmaSerum
IL-6 | 0.457 | 689 | 34146 |  | 25.032 | IR | 1.323 | 0.331 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 25.331 | 3.355 | 0.457 | 3.811 | 25.195 | 3.338 | 0.457 | 3.794 | 24.571 | 3.258 | 0.457 | 3.714 | 3 |  | 3 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 3.317 | 1.273 | 0.042 | 07/12/2017 09:56 | Ella | 89822 | Unknown | 3.773 | PlasmaSerum
IL-8 | 0.465 | 689 | 34146 |  | 234.787 | IR | 0.782 | 1.837 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 237.304 | 115.272 | 0.465 | 115.737 | 232.972 | 113.203 | 0.465 | 113.668 | 234.084 | 113.734 | 0.465 | 114.200 | 3 |  | 3 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 114.070 | 0.769 | 0.877 | 07/12/2017 09:56 | Ella | 89822 | Unknown | 114.535 | PlasmaSerum
CXCL10 | 0.453 | 689 | 34146 |  | 147.517 | IR | 4.794 | 7.072 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 157.468 | 71.328 | 0.453 | 71.781 | 143.413 | 64.534 | 0.453 | 64.987 | 141.669 | 63.692 | 0.453 | 64.145 | 3 |  | 4 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 66.518 | 5.139 | 3.418 | 07/12/2017 09:56 | Ella | 85072 | Unknown | 66.971 | PlasmaSerum
IFNg | 0.450 | 689 | 34146 |  | 7.960 | IR | 4.865 | 0.387 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 8.169 | 1.728 | 0.450 | 2.179 | 8.294 | 1.751 | 0.450 | 2.201 | 7.417 | 1.592 | 0.450 | 2.042 | 3 |  | 4 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.690 | 4.161 | 0.070 | 07/12/2017 09:56 | Ella | 85072 | Unknown | 2.141 | PlasmaSerum
IL-6 | 0.455 | 689 | 34146 |  | 8.118 | IR | 6.105 | 0.496 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 8.736 | 1.220 | 0.455 | 1.674 | 8.093 | 1.136 | 0.455 | 1.591 | 7.523 | 1.061 | 0.455 | 1.516 | 3 |  | 4 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.139 | 5.677 | 0.065 | 07/12/2017 09:56 | Ella | 85072 | Unknown | 1.594 | PlasmaSerum
IL-8 | 0.468 | 689 | 34146 |  | 63.578 | IR | 1.569 | 0.998 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 63.451 | 30.864 | 0.468 | 31.332 | 62.425 | 30.360 | 0.468 | 30.829 | 64.859 | 31.555 | 0.468 | 32.023 | 3 |  | 4 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 30.926 | 1.583 | 0.490 | 07/12/2017 09:56 | Ella | 85072 | Unknown | 31.395 | PlasmaSerum
CXCL10 | 0.465 | 689 | 34146 |  | 98.833 | IR | 2.304 | 2.277 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 101.901 | 44.599 | 0.465 | 45.065 | 98.145 | 42.812 | 0.465 | 43.277 | 96.452 | 42.008 | 0.465 | 42.473 | 3 |  | 5 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 43.140 | 2.511 | 1.083 | 07/12/2017 09:56 | Ella | 85623 | Unknown | 43.605 | PlasmaSerum
IFNg | 0.456 | 689 | 34146 |  | 16.352 | IR | 3.564 | 0.583 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 17.163 | 3.372 | 0.456 | 3.828 | 15.816 | 3.125 | 0.456 | 3.581 | 16.078 | 3.173 | 0.456 | 3.629 | 3 |  | 5 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 3.223 | 3.318 | 0.107 | 07/12/2017 09:56 | Ella | 85623 | Unknown | 3.679 | PlasmaSerum
IL-6 | 0.454 | 689 | 34146 |  | 12.232 | IR | 10.293 | 1.259 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 11.253 | 1.547 | 0.454 | 2.001 | 11.433 | 1.570 | 0.454 | 2.024 | 14.009 | 1.903 | 0.454 | 2.357 | 3 |  | 5 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.673 | 9.733 | 0.163 | 07/12/2017 09:56 | Ella | 85623 | Unknown | 2.128 | PlasmaSerum
IL-8 | 0.468 | 689 | 34146 |  | 64.929 | IR | 0.954 | 0.620 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 65.608 | 31.922 | 0.468 | 32.391 | 64.110 | 31.187 | 0.468 | 31.656 | 65.070 | 31.659 | 0.468 | 32.127 | 3 |  | 5 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 31.589 | 0.963 | 0.304 | 07/12/2017 09:56 | Ella | 85623 | Unknown | 32.058 | PlasmaSerum
CXCL10 | 0.473 | 689 | 34146 |  | 391.552 | IR | 5.125 | 20.066 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 417.812 | 194.299 | 0.473 | 194.772 | 369.107 | 172.064 | 0.473 | 172.537 | 387.736 | 180.622 | 0.473 | 181.094 | 3 |  | 6 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 182.328 | 5.023 | 9.157 | 07/12/2017 09:56 | Ella | 91090 | Unknown | 182.801 | PlasmaSerum
IFNg | 0.465 | 689 | 34146 |  | 6.146 | IR | 0.398 | 0.024 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False |  |  |  |  | 6.170 | 1.366 | 0.465 | 1.830 | 6.121 | 1.357 | 0.465 | 1.822 | 2 |  | 6 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.361 | 0.325 | 0.004 | 07/12/2017 09:56 | Ella | 91090 | Unknown | 1.826 | PlasmaSerum
IL-6 | 0.471 | 689 | 34146 |  | 857.721 | IR | 1.946 | 16.694 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 871.004 | 96.520 | 0.471 | 96.991 | 867.983 | 96.223 | 0.471 | 96.695 | 834.177 | 92.894 | 0.471 | 93.366 | 3 |  | 6 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 95.212 | 1.726 | 1.644 | 07/12/2017 09:56 | Ella | 91090 | Unknown | 95.684 | PlasmaSerum
IL-8 | 0.504 | 689 | 34146 |  | 5922.516 | OOR> | 6.074 | 359.705 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 6247.583 | 1589.383 | 0.504 | 1589.887 | 5421.117 | 1481.939 | 0.504 | 1482.444 | 6098.849 | 1571.200 | 0.504 | 1571.705 | 3 |  | 6 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1547.507 | 3.034 | 46.954 | 07/12/2017 09:56 | Ella | 91090 | Unknown | 1548.012 | PlasmaSerum
CXCL10 | 0.479 | 689 | 34146 |  | 430.814 | IR | 1.840 | 7.928 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 437.541 | 203.177 | 0.479 | 203.655 | 419.683 | 195.144 | 0.479 | 195.623 | 435.219 | 202.136 | 0.479 | 202.614 | 3 |  | 7 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 200.152 | 1.782 | 3.567 | 07/12/2017 09:56 | Ella | 85075 | Unknown | 200.631 | PlasmaSerum
IFNg | 0.464 | 689 | 34146 |  | 42.484 | IR | 1.592 | 0.676 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 43.160 | 8.173 | 0.464 | 8.638 | 41.807 | 7.923 | 0.464 | 8.387 |  |  |  |  | 2 |  | 7 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 8.048 | 1.558 | 0.125 | 07/12/2017 09:56 | Ella | 85075 | Unknown | 8.512 | PlasmaSerum
IL-6 | 0.466 | 689 | 34146 |  | 5.505 | IR | 8.027 | 0.442 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 5.152 | 0.751 | 0.466 | 1.216 | 6.128 | 0.879 | 0.466 | 1.344 | 5.234 | 0.761 | 0.466 | 1.227 | 3 |  | 7 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 0.797 | 7.281 | 0.058 | 07/12/2017 09:56 | Ella | 85075 | Unknown | 1.263 | PlasmaSerum
IL-8 | 0.496 | 689 | 34146 |  | 48.795 | IR | 2.836 | 1.384 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 49.317 | 23.930 | 0.496 | 24.427 | 46.900 | 22.746 | 0.496 | 23.242 | 50.166 | 24.347 | 0.496 | 24.843 | 3 |  | 7 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 23.674 | 2.865 | 0.678 | 07/12/2017 09:56 | Ella | 85075 | Unknown | 24.170 | PlasmaSerum
CXCL10 | 0.472 | 689 | 34146 |  | 210.767 | IR | 0.676 | 1.425 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 209.342 | 96.419 | 0.472 | 96.891 |  |  |  |  | 212.192 | 97.796 | 0.472 | 98.267 | 2 |  | 8 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 97.108 | 0.709 | 0.688 | 07/12/2017 09:56 | Ella | 90725 | Unknown | 97.579 | PlasmaSerum
IFNg | 0.460 | 689 | 34146 |  | 6.282 | IR | 0.251 | 0.016 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 6.274 | 1.384 | 0.460 | 1.844 | 6.268 | 1.383 | 0.460 | 1.843 | 6.304 | 1.390 | 0.460 | 1.850 | 3 |  | 8 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.386 | 0.206 | 0.003 | 07/12/2017 09:56 | Ella | 90725 | Unknown | 1.846 | PlasmaSerum
IL-6 | 0.471 | 689 | 34146 |  | 19.777 | IR | 7.476 | 1.479 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 21.006 | 2.802 | 0.471 | 3.273 | 17.698 | 2.378 | 0.471 | 2.849 | 20.628 | 2.754 | 0.471 | 3.225 | 3 |  | 8 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 2.645 | 7.169 | 0.190 | 07/12/2017 09:56 | Ella | 90725 | Unknown | 3.116 | PlasmaSerum
IL-8 | 0.480 | 689 | 34146 |  | 135.548 | IR | 2.653 | 3.597 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 139.426 | 68.052 | 0.480 | 68.533 | 130.759 | 63.828 | 0.480 | 64.308 | 136.459 | 66.607 | 0.480 | 67.087 | 3 |  | 8 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 66.162 | 2.650 | 1.753 | 07/12/2017 09:56 | Ella | 90725 | Unknown | 66.642 | PlasmaSerum
CXCL10 | 9.240 | 689 | 34146 |  | 327.172 | IR | 5.582 | 18.264 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 349.826 | 163.141 | 9.240 | 172.381 | 305.101 | 142.198 | 9.240 | 151.438 | 326.590 | 152.302 | 9.240 | 161.542 | 3 |  | 9 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 152.547 | 5.606 | 8.552 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 161.787 | PlasmaSerum
IFNg | 8.647 | 689 | 34146 |  | 199.414 | IR | 1.180 | 2.353 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False |  |  |  |  | 197.062 | 36.749 | 8.647 | 45.396 | 201.767 | 37.618 | 8.647 | 46.265 | 2 |  | 9 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 37.184 | 1.169 | 0.435 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 45.831 | PlasmaSerum
IL-6 | 7.572 | 689 | 34146 |  | 423.808 | IR | 6.766 | 28.673 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False |  |  |  |  | 395.135 | 46.938 | 7.572 | 54.510 | 452.482 | 53.251 | 7.572 | 60.823 | 2 |  | 9 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 50.094 | 6.301 | 3.156 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 57.666 | PlasmaSerum
IL-8 | 12.859 | 689 | 34146 |  | 6542.693 | OOR> | 5.551 | 363.193 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 6960.706 | 1670.393 | 12.859 | 1683.252 | 6592.167 | 1629.751 | 12.859 | 1642.610 | 6075.206 | 1568.266 | 12.859 | 1581.125 | 3 |  | 9 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1622.803 | 2.587 | 41.982 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 1635.662 | PlasmaSerum
CXCL10 | 0.466 | 689 | 34146 |  | 85.521 | IR | 4.208 | 3.599 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 90.610 | 39.239 | 0.466 | 39.705 | 82.953 | 35.627 | 0.466 | 36.093 | 83.000 | 35.649 | 0.466 | 36.115 | 3 |  | 10 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 36.839 | 4.608 | 1.697 | 07/12/2017 09:56 | Ella | 83327 | Unknown | 37.305 | PlasmaSerum
IFNg | 0.453 | 689 | 34146 |  | 11.210 | IR | 3.100 | 0.347 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 11.633 | 2.359 | 0.453 | 2.812 | 10.782 | 2.204 | 0.453 | 2.657 | 11.214 | 2.283 | 0.453 | 2.736 | 3 |  | 10 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 2.282 | 2.779 | 0.063 | 07/12/2017 09:56 | Ella | 83327 | Unknown | 2.735 | PlasmaSerum
IL-6 | 0.460 | 689 | 34146 |  | 130.033 | IR | 4.828 | 6.277 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False |  |  |  |  | 136.310 | 17.057 | 0.460 | 17.517 | 123.756 | 15.541 | 0.460 | 16.001 | 2 |  | 10 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 16.299 | 4.651 | 0.758 | 07/12/2017 09:56 | Ella | 83327 | Unknown | 16.759 | PlasmaSerum
IL-8 | 0.498 | 689 | 34146 |  | 500.320 | IR | 1.731 | 8.658 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 512.560 | 242.138 | 0.498 | 242.636 | 494.485 | 234.091 | 0.498 | 234.589 | 493.915 | 233.837 | 0.498 | 234.335 | 3 |  | 10 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 236.689 | 1.629 | 3.855 | 07/12/2017 09:56 | Ella | 83327 | Unknown | 237.187 | PlasmaSerum
CXCL10 | 0.450 | 689 | 34146 |  | 138.168 | IR | 1.741 | 2.406 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 141.547 | 63.633 | 0.450 | 64.083 | 136.827 | 61.356 | 0.450 | 61.806 | 136.130 | 61.019 | 0.450 | 61.470 | 3 |  | 11 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 62.003 | 1.873 | 1.161 | 07/12/2017 09:56 | Ella | 90058 | Unknown | 62.453 | PlasmaSerum
IFNg | 0.437 | 689 | 34146 |  | 13.761 | IR | 5.449 | 0.750 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 12.728 | 2.559 | 0.437 | 2.996 | 14.484 | 2.881 | 0.437 | 3.317 | 14.070 | 2.805 | 0.437 | 3.242 | 3 |  | 11 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 2.748 | 4.992 | 0.137 | 07/12/2017 09:56 | Ella | 90058 | Unknown | 3.185 | PlasmaSerum
IL-6 | 0.441 | 689 | 34146 |  | 11.774 | IR | 6.172 | 0.727 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 11.597 | 1.591 | 0.441 | 2.032 | 12.740 | 1.739 | 0.441 | 2.180 | 10.987 | 1.512 | 0.441 | 1.953 | 3 |  | 11 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.614 | 5.830 | 0.094 | 07/12/2017 09:56 | Ella | 90058 | Unknown | 2.055 | PlasmaSerum
IL-8 | 0.482 | 689 | 34146 |  | 55.594 | IR | 3.320 | 1.845 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 57.460 | 27.924 | 0.482 | 28.406 | 56.243 | 27.327 | 0.482 | 27.809 | 53.081 | 25.776 | 0.482 | 26.258 | 3 |  | 11 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 27.009 | 3.352 | 0.905 | 07/12/2017 09:56 | Ella | 90058 | Unknown | 27.491 | PlasmaSerum
CXCL10 | 0.471 | 689 | 34146 |  | 271.956 | IR | 2.915 | 7.927 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 283.093 | 131.777 | 0.471 | 132.248 | 267.491 | 124.348 | 0.471 | 124.819 | 265.284 | 123.295 | 0.471 | 123.766 | 3 |  | 12 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 126.474 | 2.985 | 3.775 | 07/12/2017 09:56 | Ella | 91445 | Unknown | 126.945 | PlasmaSerum
IFNg | 0.477 | 689 | 34146 |  | 10.918 | IR | 2.530 | 0.276 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 10.736 | 2.196 | 0.477 | 2.672 | 10.710 | 2.191 | 0.477 | 2.668 | 11.309 | 2.300 | 0.477 | 2.777 | 3 |  | 12 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 2.229 | 2.262 | 0.050 | 07/12/2017 09:56 | Ella | 91445 | Unknown | 2.706 | PlasmaSerum
IL-6 | 0.472 | 689 | 34146 |  | 163.980 | IR | 1.063 | 1.744 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False |  |  |  |  | 162.236 | 20.165 | 0.472 | 20.637 | 165.724 | 20.581 | 0.472 | 21.053 | 2 |  | 12 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 20.373 | 1.021 | 0.208 | 07/12/2017 09:56 | Ella | 91445 | Unknown | 20.845 | PlasmaSerum
IL-8 | 0.537 | 689 | 34146 |  | 1039.363 | IR | 4.714 | 48.997 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 989.440 | 440.377 | 0.537 | 440.913 | 1022.709 | 453.240 | 0.537 | 453.777 | 1105.939 | 484.903 | 0.537 | 485.440 | 3 |  | 12 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 459.507 | 4.072 | 18.710 | 07/12/2017 09:56 | Ella | 91445 | Unknown | 460.043 | PlasmaSerum
CXCL10 | 0.499 | 689 | 34146 |  | 332.682 | IR | 3.600 | 11.977 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 339.955 | 158.547 | 0.499 | 159.046 | 342.295 | 159.637 | 0.499 | 160.136 | 315.798 | 147.236 | 0.499 | 147.735 | 3 |  | 13 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 155.140 | 3.614 | 5.607 | 07/12/2017 09:56 | Ella | 91233 | Unknown | 155.639 | PlasmaSerum
IFNg | 0.446 | 689 | 34146 |  | 16.472 | IR | 0.864 | 0.142 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 16.352 | 3.223 | 0.446 | 3.669 | 16.672 | 3.282 | 0.446 | 3.728 | 16.392 | 3.230 | 0.446 | 3.676 | 3 |  | 13 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 3.245 | 0.805 | 0.026 | 07/12/2017 09:56 | Ella | 91233 | Unknown | 3.691 | PlasmaSerum
IL-6 | 0.447 | 689 | 34146 |  | 22.594 | IR | 6.812 | 1.539 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 20.790 | 2.775 | 0.447 | 3.222 | 22.443 | 2.986 | 0.447 | 3.433 | 24.550 | 3.255 | 0.447 | 3.702 | 3 |  | 13 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 3.005 | 6.544 | 0.197 | 07/12/2017 09:56 | Ella | 91233 | Unknown | 3.452 | PlasmaSerum
IL-8 | 0.475 | 689 | 34146 |  | 215.731 | IR | 3.744 | 8.078 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 222.040 | 107.973 | 0.475 | 108.448 | 220.825 | 107.391 | 0.475 | 107.866 | 204.328 | 99.473 | 0.475 | 99.948 | 3 |  | 13 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 104.946 | 3.694 | 3.877 | 07/12/2017 09:56 | Ella | 91233 | Unknown | 105.420 | PlasmaSerum
CXCL10 | 0.852 | 689 | 34146 |  | 2630.258 | OOR> | 0.698 | 18.355 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 2614.490 | 801.405 | 0.852 | 802.257 | 2620.284 | 802.337 | 0.852 | 803.189 | 2656.000 | 808.038 | 0.852 | 808.890 | 3 |  | 14 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 803.927 | 0.365 | 2.932 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 804.779 | PlasmaSerum
IFNg | 0.462 | 689 | 34146 |  | 9.072 | IR | 0.837 | 0.076 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 9.174 | 1.911 | 0.462 | 2.373 | 9.052 | 1.889 | 0.462 | 2.351 | 8.991 | 1.878 | 0.462 | 2.340 | 3 |  | 14 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1.892 | 0.730 | 0.014 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 2.354 | PlasmaSerum
IL-6 | 0.469 | 689 | 34146 |  | 81.497 | IR | 1.388 | 1.131 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 80.224 | 10.224 | 0.469 | 10.693 | 81.294 | 10.356 | 0.469 | 10.825 | 82.973 | 10.563 | 0.469 | 11.032 | 3 |  | 14 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 10.381 | 1.343 | 0.139 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 10.850 | PlasmaSerum
IL-8 | 0.696 | 689 | 34146 |  | 3543.398 | IR | 2.112 | 74.830 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 3585.569 | 1172.291 | 0.696 | 1172.987 | 3606.368 | 1176.502 | 0.696 | 1177.199 | 3438.255 | 1141.900 | 0.696 | 1142.597 | 3 |  | 14 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 1163.564 | 1.325 | 15.415 | 07/12/2017 09:56 | Ella | 90651 | Unknown | 1164.261 | PlasmaSerum
CXCL10 | 0.448 | 689 | 34146 |  | 0.363 | OOR< | 12.004 | 0.044 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 0.421 | 0.195 | 0.448 | 0.644 | 0.315 | 0.169 | 0.448 | 0.617 | 0.355 | 0.179 | 0.448 | 0.627 | 3 |  | 15 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 0.181 | 6.010 | 0.011 | 07/12/2017 09:56 | Ella | Blank | Unknown | 0.629 | PlasmaSerum
IFNg | 0.453 | 689 | 34146 |  | 0.096 | OOR< | 78.290 | 0.075 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 0.184 | 0.297 | 0.453 | 0.750 | 0.105 | 0.283 | 0.453 | 0.736 | 0.000 | 0.263 | 0.453 | 0.716 | 3 |  | 15 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 0.281 | 4.882 | 0.014 | 07/12/2017 09:56 | Ella | Blank | Unknown | 0.734 | PlasmaSerum
IL-6 | 0.447 | 689 | 34146 |  | 0.429 | OOR< | 3.070 | 0.013 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 0.442 | 0.123 | 0.447 | 0.570 |  |  |  |  | 0.416 | 0.119 | 0.447 | 0.566 | 2 |  | 15 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 0.121 | 1.491 | 0.002 | 07/12/2017 09:56 | Ella | Blank | Unknown | 0.568 | PlasmaSerum
IL-8 | 0.457 | 689 | 34146 |  | 0.037 | OOR< | 52.513 | 0.020 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 2.000 | GnrRfuCVThreshold | 10.000 | False | 0.055 | 0.114 | 0.457 | 0.571 | 0.010 | 0.095 | 0.457 | 0.552 | 0.046 | 0.110 | 0.457 | 0.567 | 3 |  | 15 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 |  | 2411 |  | 0.106 | 7.749 | 0.008 | 07/12/2017 09:56 | Ella | Blank | Unknown | 0.564 | PlasmaSerum
CXCL10 | 0.461 | 689 | 34146 |  | 0.218 | OOR< | 7.224 | 0.016 | 1 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | 726 | 1.000 | GnrRfuCVThreshold | 10.000 | False | 0.198 | 0.189 | 0.461 | 0.651 | 0.237 | 0.209 | 0.461 | 0.670 | 0.219 | 0.200 | 0.461 | 0.661 | 3 |  | 16 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 | 1.000 | 2411 | 21.816 | 0.199 | 4.025 | 0.008 | 07/12/2017 09:56 | Ella | Lo Control | Control | 0.661 | PlasmaSerum
IFNg | 0.468 | 689 | 34146 |  | 65.617 | IR | 2.149 | 1.410 | 2 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | 726 | 1.000 | GnrRfuCVThreshold | 10.000 | False | 66.698 | 24.948 | 0.468 | 25.416 | 66.529 | 24.885 | 0.468 | 25.353 | 63.625 | 23.806 | 0.468 | 24.274 | 3 |  | 16 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 | 57.300 | 2411 | 114.515 | 24.547 | 2.135 | 0.524 | 07/12/2017 09:56 | Ella | Lo Control | Control | 25.015 | PlasmaSerum
IL-6 | 0.496 | 689 | 34146 |  | 62.828 | IR | 6.277 | 3.944 | 3 | 0.061 | 0.984 | 3449.682 | 1126.020 | 0.730 | 726 | 1.000 | GnrRfuCVThreshold | 10.000 | False | 65.664 | 16.456 | 0.496 | 16.953 | 57.251 | 14.419 | 0.496 | 14.915 | 65.570 | 16.434 | 0.496 | 16.930 | 3 |  | 16 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 | 42.150 | 2411 | 149.059 | 15.769 | 6.057 | 0.955 | 07/12/2017 09:56 | Ella | Lo Control | Control | 16.266 | PlasmaSerum
IL-8 | 0.474 | 689 | 34146 |  | 0.134 | OOR< | 7.168 | 0.010 | 4 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | 726 | 1.000 | GnrRfuCVThreshold | 10.000 | False | 0.140 | 0.212 | 0.474 | 0.687 | 0.121 | 0.195 | 0.474 | 0.670 | 0.143 | 0.215 | 0.474 | 0.689 | 3 |  | 16 | Ella-16030076 | 35290 | 1d678bb5-de42-4aba-b621-36525c6270f9 | 1.000 | 2411 | 13.435 | 0.207 | 4.116 | 0.009 | 07/12/2017 09:56 | Ella | Lo Control | Control | 0.682 | PlasmaSerum

## Summary 1
Analyte 1 (CXCL10)
| RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 0.47 | 11.318 | 10.65 | 10.905 | 11.427 | 2.514 | 11.788 | 11.119 | 11.374 | 10.958 | 29.351 | 27.781 | 28.381 | 28.504 | 2.269
2 | 0.458 | 60.147 | 56.296 | 56.674 | 58.164 | 3.003 | 60.605 | 56.754 | 57.132 | 57.706 | 134.32 | 126.323 | 127.109 | 129.251 | 2.784
3 | 0.465 | 221.057 | 223.097 | 220.047 | 221.866 | 0.573 | 221.523 | 223.562 | 220.512 | 221.4 | 477.812 | 482.452 | 475.516 | 478.594 | 0.603
4 | 0.453 | 71.328 | 64.534 | 63.692 | 66.971 | 5.139 | 71.781 | 64.987 | 64.145 | 66.518 | 157.468 | 143.413 | 141.669 | 147.517 | 4.794
5 | 0.465 | 44.599 | 42.812 | 42.008 | 43.605 | 2.511 | 45.065 | 43.277 | 42.473 | 43.14 | 101.901 | 98.145 | 96.452 | 98.833 | 2.304
6 | 0.473 | 194.299 | 172.064 | 180.622 | 182.801 | 5.023 | 194.772 | 172.537 | 181.094 | 182.328 | 417.812 | 369.107 | 387.736 | 391.552 | 5.125
7 | 0.479 | 203.177 | 195.144 | 202.136 | 200.631 | 1.782 | 203.655 | 195.623 | 202.614 | 200.152 | 437.541 | 419.683 | 435.219 | 430.814 | 1.84
8 | 0.472 | 96.419 |  | 97.796 | 97.579 | 0.709 | 96.891 |  | 98.267 | 97.108 | 209.342 |  | 212.192 | 210.767 | 0.676
9 | 9.24 | 163.141 | 142.198 | 152.302 | 161.787 | 5.606 | 172.381 | 151.438 | 161.542 | 152.547 | 349.826 | 305.101 | 326.59 | 327.172 | 5.582
10 | 0.466 | 39.239 | 35.627 | 35.649 | 37.305 | 4.608 | 39.705 | 36.093 | 36.115 | 36.839 | 90.61 | 82.953 | 83 | 85.521 | 4.208
11 | 0.45 | 63.633 | 61.356 | 61.019 | 62.453 | 1.873 | 64.083 | 61.806 | 61.47 | 62.003 | 141.547 | 136.827 | 136.13 | 138.168 | 1.741
12 | 0.471 | 131.777 | 124.348 | 123.295 | 126.945 | 2.985 | 132.248 | 124.819 | 123.766 | 126.474 | 283.093 | 267.491 | 265.284 | 271.956 | 2.915
13 | 0.499 | 158.547 | 159.637 | 147.236 | 155.639 | 3.614 | 159.046 | 160.136 | 147.735 | 155.14 | 339.955 | 342.295 | 315.798 | 332.682 | 3.6
14 | 0.852 | 801.405 | 802.337 | 808.038 | 804.779 | 0.365 | 802.257 | 803.189 | 808.89 | 803.927 | 2614.49 | 2620.284 | 2656 | 2630.258 | 0.698
15 | 0.448 | 0.195 | 0.169 | 0.179 | 0.629 | 6.01 | 0.644 | 0.617 | 0.627 | 0.181 | 0.421 | 0.315 | 0.355 | 0.363 | 12.004
16 | 0.461 | 0.189 | 0.209 | 0.2 | 0.661 | 4.025 | 0.651 | 0.67 | 0.661 | 0.199 | 0.198 | 0.237 | 0.219 | 0.218 | 7.224
Analyte 2 (IFNg)
| RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 0.451 | 1.972 | 1.978 | 1.769 | 2.357 | 5.099 | 2.423 | 2.429 | 2.22 | 1.906 | 9.509 | 9.54 | 8.392 | 9.147 | 5.839
2 | 0.453 | 3.795 | 3.062 | 3.823 | 4.013 | 9.897 | 4.247 | 3.515 | 4.276 | 3.56 | 19.464 | 15.473 | 19.619 | 18.185 | 10.552
3 | 0.456 | 1.226 | 1.277 | 1.265 | 1.712 | 1.757 | 1.681 | 1.733 | 1.721 | 1.256 | 5.396 | 5.682 | 5.616 | 5.565 | 2.195
4 | 0.45 | 1.728 | 1.751 | 1.592 | 2.141 | 4.161 | 2.179 | 2.201 | 2.042 | 1.69 | 8.169 | 8.294 | 7.417 | 7.96 | 4.865
5 | 0.456 | 3.372 | 3.125 | 3.173 | 3.679 | 3.318 | 3.828 | 3.581 | 3.629 | 3.223 | 17.163 | 15.816 | 16.078 | 16.352 | 3.564
6 |  |  | 1.366 | 1.357 | 1.826 | 0.325 |  | 1.83 | 1.822 | 1.361 |  | 6.17 | 6.121 | 6.146 | 0.398
7 | 0.464 | 8.173 | 7.923 |  | 8.512 | 1.558 | 8.638 | 8.387 |  | 8.048 | 43.16 | 41.807 |  | 42.484 | 1.592
8 | 0.46 | 1.384 | 1.383 | 1.39 | 1.846 | 0.206 | 1.844 | 1.843 | 1.85 | 1.386 | 6.274 | 6.268 | 6.304 | 6.282 | 0.251
9 |  |  | 36.749 | 37.618 | 45.831 | 1.169 |  | 45.396 | 46.265 | 37.184 |  | 197.062 | 201.767 | 199.414 | 1.18
10 | 0.453 | 2.359 | 2.204 | 2.283 | 2.735 | 2.779 | 2.812 | 2.657 | 2.736 | 2.282 | 11.633 | 10.782 | 11.214 | 11.21 | 3.1
11 | 0.437 | 2.559 | 2.881 | 2.805 | 3.185 | 4.992 | 2.996 | 3.317 | 3.242 | 2.748 | 12.728 | 14.484 | 14.07 | 13.761 | 5.449
12 | 0.477 | 2.196 | 2.191 | 2.3 | 2.706 | 2.262 | 2.672 | 2.668 | 2.777 | 2.229 | 10.736 | 10.71 | 11.309 | 10.918 | 2.53
13 | 0.446 | 3.223 | 3.282 | 3.23 | 3.691 | 0.805 | 3.669 | 3.728 | 3.676 | 3.245 | 16.352 | 16.672 | 16.392 | 16.472 | 0.864
14 | 0.462 | 1.911 | 1.889 | 1.878 | 2.354 | 0.73 | 2.373 | 2.351 | 2.34 | 1.892 | 9.174 | 9.052 | 8.991 | 9.072 | 0.837
15 | 0.453 | 0.297 | 0.283 | 0.263 | 0.734 | 4.882 | 0.75 | 0.736 | 0.716 | 0.281 | 0.184 | 0.105 | 0 | 0.096 | 78.29
16 | 0.468 | 24.948 | 24.885 | 23.806 | 25.015 | 2.135 | 25.416 | 25.353 | 24.274 | 24.547 | 66.698 | 66.529 | 63.625 | 65.617 | 2.149
Analyte 3 (IL-6)
| RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 0.449 | 0.624 | 0.675 | 0.67 | 1.105 | 3.551 | 1.072 | 1.124 | 1.119 | 0.656 | 4.187 | 4.58 | 4.542 | 4.436 | 3.983
2 | 0.449 | 1.167 |  | 1.178 | 1.621 | 0.478 | 1.615 |  | 1.627 | 1.172 | 8.331 |  | 8.417 | 8.374 | 0.514
3 | 0.457 | 3.355 | 3.338 | 3.258 | 3.773 | 1.273 | 3.811 | 3.794 | 3.714 | 3.317 | 25.331 | 25.195 | 24.571 | 25.032 | 1.323
4 | 0.455 | 1.22 | 1.136 | 1.061 | 1.594 | 5.677 | 1.674 | 1.591 | 1.516 | 1.139 | 8.736 | 8.093 | 7.523 | 8.118 | 6.105
5 | 0.454 | 1.547 | 1.57 | 1.903 | 2.128 | 9.733 | 2.001 | 2.024 | 2.357 | 1.673 | 11.253 | 11.433 | 14.009 | 12.232 | 10.293
6 | 0.471 | 96.52 | 96.223 | 92.894 | 95.684 | 1.726 | 96.991 | 96.695 | 93.366 | 95.212 | 871.004 | 867.983 | 834.177 | 857.721 | 1.946
7 | 0.466 | 0.751 | 0.879 | 0.761 | 1.263 | 7.281 | 1.216 | 1.344 | 1.227 | 0.797 | 5.152 | 6.128 | 5.234 | 5.505 | 8.027
8 | 0.471 | 2.802 | 2.378 | 2.754 | 3.116 | 7.169 | 3.273 | 2.849 | 3.225 | 2.645 | 21.006 | 17.698 | 20.628 | 19.777 | 7.476
9 |  |  | 46.938 | 53.251 | 57.666 | 6.301 |  | 54.51 | 60.823 | 50.094 |  | 395.135 | 452.482 | 423.808 | 6.766
10 |  |  | 17.057 | 15.541 | 16.759 | 4.651 |  | 17.517 | 16.001 | 16.299 |  | 136.31 | 123.756 | 130.033 | 4.828
11 | 0.441 | 1.591 | 1.739 | 1.512 | 2.055 | 5.83 | 2.032 | 2.18 | 1.953 | 1.614 | 11.597 | 12.74 | 10.987 | 11.774 | 6.172
12 |  |  | 20.165 | 20.581 | 20.845 | 1.021 |  | 20.637 | 21.053 | 20.373 |  | 162.236 | 165.724 | 163.98 | 1.063
13 | 0.447 | 2.775 | 2.986 | 3.255 | 3.452 | 6.544 | 3.222 | 3.433 | 3.702 | 3.005 | 20.79 | 22.443 | 24.55 | 22.594 | 6.812
14 | 0.469 | 10.224 | 10.356 | 10.563 | 10.85 | 1.343 | 10.693 | 10.825 | 11.032 | 10.381 | 80.224 | 81.294 | 82.973 | 81.497 | 1.388
15 | 0.447 | 0.123 |  | 0.119 | 0.568 | 1.491 | 0.57 |  | 0.566 | 0.121 | 0.442 |  | 0.416 | 0.429 | 3.07
16 | 0.496 | 16.456 | 14.419 | 16.434 | 16.266 | 6.057 | 16.953 | 14.915 | 16.93 | 15.769 | 65.664 | 57.251 | 65.57 | 62.828 | 6.277
Analyte 4 (IL-8)
| RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 0.462 | 27.056 | 26.623 | 26.383 | 27.149 | 1.044 | 27.518 | 27.085 | 26.845 | 26.687 | 55.69 | 54.809 | 54.318 | 54.939 | 1.034
2 | 0.464 | 106.085 | 100.014 | 107.974 | 105.155 | 3.243 | 106.549 | 100.478 | 108.438 | 104.691 | 218.099 | 205.455 | 222.041 | 215.198 | 3.288
3 | 0.465 | 115.272 | 113.203 | 113.734 | 114.535 | 0.769 | 115.737 | 113.668 | 114.2 | 114.07 | 237.304 | 232.972 | 234.084 | 234.787 | 0.782
4 | 0.468 | 30.864 | 30.36 | 31.555 | 31.395 | 1.583 | 31.332 | 30.829 | 32.023 | 30.926 | 63.451 | 62.425 | 64.859 | 63.578 | 1.569
5 | 0.468 | 31.922 | 31.187 | 31.659 | 32.058 | 0.963 | 32.391 | 31.656 | 32.127 | 31.589 | 65.608 | 64.11 | 65.07 | 64.929 | 0.954
6 | 0.504 | 1589.383 | 1481.939 | 1571.2 | 1548.012 | 3.034 | 1589.887 | 1482.444 | 1571.705 | 1547.507 | 6247.583 | 5421.117 | 6098.849 | 5922.516 | 6.074
7 | 0.496 | 23.93 | 22.746 | 24.347 | 24.17 | 2.865 | 24.427 | 23.242 | 24.843 | 23.674 | 49.317 | 46.9 | 50.166 | 48.795 | 2.836
8 | 0.48 | 68.052 | 63.828 | 66.607 | 66.642 | 2.65 | 68.533 | 64.308 | 67.087 | 66.162 | 139.426 | 130.759 | 136.459 | 135.548 | 2.653
9 | 12.859 | 1670.393 | 1629.751 | 1568.266 | 1635.662 | 2.587 | 1683.252 | 1642.61 | 1581.125 | 1622.803 | 6960.706 | 6592.167 | 6075.206 | 6542.693 | 5.551
10 | 0.498 | 242.138 | 234.091 | 233.837 | 237.187 | 1.629 | 242.636 | 234.589 | 234.335 | 236.689 | 512.56 | 494.485 | 493.915 | 500.32 | 1.731
11 | 0.482 | 27.924 | 27.327 | 25.776 | 27.491 | 3.352 | 28.406 | 27.809 | 26.258 | 27.009 | 57.46 | 56.243 | 53.081 | 55.594 | 3.32
12 | 0.537 | 440.377 | 453.24 | 484.903 | 460.043 | 4.072 | 440.913 | 453.777 | 485.44 | 459.507 | 989.44 | 1022.709 | 1105.939 | 1039.363 | 4.714
13 | 0.475 | 107.973 | 107.391 | 99.473 | 105.42 | 3.694 | 108.448 | 107.866 | 99.948 | 104.946 | 222.04 | 220.825 | 204.328 | 215.731 | 3.744
14 | 0.696 | 1172.291 | 1176.502 | 1141.9 | 1164.261 | 1.325 | 1172.987 | 1177.199 | 1142.597 | 1163.564 | 3585.569 | 3606.368 | 3438.255 | 3543.398 | 2.112
15 | 0.457 | 0.114 | 0.095 | 0.11 | 0.564 | 7.749 | 0.571 | 0.552 | 0.567 | 0.106 | 0.055 | 0.01 | 0.046 | 0.037 | 52.513
16 | 0.474 | 0.212 | 0.195 | 0.215 | 0.682 | 4.116 | 0.687 | 0.67 | 0.689 | 0.207 | 0.14 | 0.121 | 0.143 | 0.134 | 7.168

## Summary 2
Analyte 1 (CXCL10)
Calculated Concentration
Sample | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 29.351 | 27.781 | 28.381 | 28.504 | 2.269
2 | 134.32 | 126.323 | 127.109 | 129.251 | 2.784
3 | 477.812 | 482.452 | 475.516 | 478.594 | 0.603
4 | 157.468 | 143.413 | 141.669 | 147.517 | 4.794
5 | 101.901 | 98.145 | 96.452 | 98.833 | 2.304
6 | 417.812 | 369.107 | 387.736 | 391.552 | 5.125
7 | 437.541 | 419.683 | 435.219 | 430.814 | 1.84
8 | 209.342 |  | 212.192 | 210.767 | 0.676
9 | 349.826 | 305.101 | 326.59 | 327.172 | 5.582
10 | 90.61 | 82.953 | 83 | 85.521 | 4.208
11 | 141.547 | 136.827 | 136.13 | 138.168 | 1.741
12 | 283.093 | 267.491 | 265.284 | 271.956 | 2.915
13 | 339.955 | 342.295 | 315.798 | 332.682 | 3.6
14 | 2614.49 | 2620.284 | 2656 | 2630.258 | 0.698
15 | 0.421 | 0.315 | 0.355 | 0.363 | 12.004
16 | 0.198 | 0.237 | 0.219 | 0.218 | 7.224
Analyte 2 (IFNg)
Calculated Concentration
Sample | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 9.509 | 9.54 | 8.392 | 9.147 | 5.839
2 | 19.464 | 15.473 | 19.619 | 18.185 | 10.552
3 | 5.396 | 5.682 | 5.616 | 5.565 | 2.195
4 | 8.169 | 8.294 | 7.417 | 7.96 | 4.865
5 | 17.163 | 15.816 | 16.078 | 16.352 | 3.564
6 |  | 6.17 | 6.121 | 6.146 | 0.398
7 | 43.16 | 41.807 |  | 42.484 | 1.592
8 | 6.274 | 6.268 | 6.304 | 6.282 | 0.251
9 |  | 197.062 | 201.767 | 199.414 | 1.18
10 | 11.633 | 10.782 | 11.214 | 11.21 | 3.1
11 | 12.728 | 14.484 | 14.07 | 13.761 | 5.449
12 | 10.736 | 10.71 | 11.309 | 10.918 | 2.53
13 | 16.352 | 16.672 | 16.392 | 16.472 | 0.864
14 | 9.174 | 9.052 | 8.991 | 9.072 | 0.837
15 | 0.184 | 0.105 | 0 | 0.096 | 78.29
16 | 66.698 | 66.529 | 63.625 | 65.617 | 2.149
Analyte 3 (IL-6)
Calculated Concentration
Sample | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4.187 | 4.58 | 4.542 | 4.436 | 3.983
2 | 8.331 |  | 8.417 | 8.374 | 0.514
3 | 25.331 | 25.195 | 24.571 | 25.032 | 1.323
4 | 8.736 | 8.093 | 7.523 | 8.118 | 6.105
5 | 11.253 | 11.433 | 14.009 | 12.232 | 10.293
6 | 871.004 | 867.983 | 834.177 | 857.721 | 1.946
7 | 5.152 | 6.128 | 5.234 | 5.505 | 8.027
8 | 21.006 | 17.698 | 20.628 | 19.777 | 7.476
9 |  | 395.135 | 452.482 | 423.808 | 6.766
10 |  | 136.31 | 123.756 | 130.033 | 4.828
11 | 11.597 | 12.74 | 10.987 | 11.774 | 6.172
12 |  | 162.236 | 165.724 | 163.98 | 1.063
13 | 20.79 | 22.443 | 24.55 | 22.594 | 6.812
14 | 80.224 | 81.294 | 82.973 | 81.497 | 1.388
15 | 0.442 |  | 0.416 | 0.429 | 3.07
16 | 65.664 | 57.251 | 65.57 | 62.828 | 6.277
Analyte 4 (IL-8)
Calculated Concentration
Sample | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 55.69 | 54.809 | 54.318 | 54.939 | 1.034
2 | 218.099 | 205.455 | 222.041 | 215.198 | 3.288
3 | 237.304 | 232.972 | 234.084 | 234.787 | 0.782
4 | 63.451 | 62.425 | 64.859 | 63.578 | 1.569
5 | 65.608 | 64.11 | 65.07 | 64.929 | 0.954
6 | 6247.583 | 5421.117 | 6098.849 | 5922.516 | 6.074
7 | 49.317 | 46.9 | 50.166 | 48.795 | 2.836
8 | 139.426 | 130.759 | 136.459 | 135.548 | 2.653
9 | 6960.706 | 6592.167 | 6075.206 | 6542.693 | 5.551
10 | 512.56 | 494.485 | 493.915 | 500.32 | 1.731
11 | 57.46 | 56.243 | 53.081 | 55.594 | 3.32
12 | 989.44 | 1022.709 | 1105.939 | 1039.363 | 4.714
13 | 222.04 | 220.825 | 204.328 | 215.731 | 3.744
14 | 3585.569 | 3606.368 | 3438.255 | 3543.398 | 2.112
15 | 0.055 | 0.01 | 0.046 | 0.037 | 52.513
16 | 0.14 | 0.121 | 0.143 | 0.134 | 7.168

## Summary 3
CalculatedConcentration
Sample | CXCL10 | IFNg | IL-6 | IL-8
1 | 28.504 | 9.147 | 4.436 | 54.939
2 | 129.251 | 18.185 | 8.374 | 215.198
3 | 478.594 | 5.565 | 25.032 | 234.787
4 | 147.517 | 7.96 | 8.118 | 63.578
5 | 98.833 | 16.352 | 12.232 | 64.929
6 | 391.552 | 6.146 | 857.721 | 5922.516
7 | 430.814 | 42.484 | 5.505 | 48.795
8 | 210.767 | 6.282 | 19.777 | 135.548
9 | 327.172 | 199.414 | 423.808 | 6542.693
10 | 85.521 | 11.21 | 130.033 | 500.32
11 | 138.168 | 13.761 | 11.774 | 55.594
12 | 271.956 | 10.918 | 163.98 | 1039.363
13 | 332.682 | 16.472 | 22.594 | 215.731
14 | 2630.258 | 9.072 | 81.497 | 3543.398
15 | 0.363 | 0.096 | 0.429 | 0.037
16 | 0.218 | 65.617 | 62.828 | 0.134
Curve Coefficients
| CXCL10 | IFNg | IL-6 | IL-8
A | 0.101 | 0.266 | 0.061 | 0.091
B | 1.127 | 1.016 | 0.984 | 1.022
C | 913.749 | 4577.497 | 3449.682 | 2954.145
D | 1686.549 | 2565.177 | 1126.02 | 2878.453
G | 0.704 | 0.714 | 0.73 | 1.112
| 0.1 | 0.096 | 0.1 | 0.037
| 0.218 | 0.1 | 0.429 | 0.1
| 0.363 | 1 | 1 | 0.134
| 1 | 5.565 | 4.436 | 1
| 10 | 6.146 | 5.505 | 10
| 28.504 | 6.282 | 8.118 | 48.795
| 85.521 | 7.96 | 8.374 | 54.939
| 98.833 | 9.072 | 10 | 55.594
| 100 | 9.147 | 11.774 | 63.578
| 129.251 | 10 | 12.232 | 64.929
| 138.168 | 10.918 | 19.777 | 100
| 147.517 | 11.21 | 22.594 | 135.548
| 210.767 | 13.761 | 25.032 | 215.198
| 271.956 | 16.352 | 62.828 | 215.731
| 327.172 | 16.472 | 81.497 | 234.787
| 332.682 | 18.185 | 100 | 500.32
| 391.552 | 42.484 | 130.033 | 1000
| 430.814 | 65.617 | 163.98 | 1039.363
| 478.594 | 100 | 423.808 | 3543.398
| 1000 | 199.414 | 857.721 | 5922.516
| 2630.258 | 1000 | 1000 | 6542.693
| 10000 | 10000 | 10000 | 10000
| 0.16632 | 0.312 | 0.09896 | 0.11974
| 0.2582 | 0.31395 | 0.22008 | 0.1704
| 0.38025 | 0.76338 | 0.42676 | 0.19808
| 0.97565 | 3.1084 | 1.6436 | 0.92601
| 11.7478 | 3.4098 | 2.0175 | 8.851
| 37.4726 | 3.4804 | 2.926 | 43.8188
| 122.7249 | 4.353 | 3.0147 | 49.358
| 142.702 | 4.9327 | 3.5764 | 49.9481
| 144.4472 | 4.9718 | 4.187 | 57.1331
| 187.7481 | 5.4171 | 4.3442 | 58.3473
| 200.7482 | 5.8969 | 6.9173 | 89.6753
| 214.2634 | 6.0496 | 7.8705 | 120.9787
| 302.2427 | 7.3853 | 8.6926 | 189.2289
| 381.1732 | 8.7447 | 21.1687 | 189.6764
| 447.1361 | 8.8077 | 27.1775 | 205.597
| 453.4519 | 9.7076 | 33.0466 | 411.4409
| 518.035 | 22.514 | 42.4046 | 728.6918
| 558.2901 | 34.7036 | 52.7492 | 750.4383
| 604.4387 | 52.7302 | 125.0706 | 1595.1545
| 958.4293 | 103.9109 | 225.0357 | 1953.1743
| 1360.0043 | 457.5471 | 253.4023 | 2016.5124
| 1611.5336 | 1781.4287 | 827.1768 | 2256.4027