## Raw data
ï»¿CartridgeId | RunDate | LotNumber | KitId | ChannelNumber | Sample | AnalyteName | InletNumber | DilutionFactor | CalculatedConcentration | CalculatedConcentrationInRange | CalculatedConcentrationPercentCV | CalculatedConcentrationStdDev | RFU | Gnr1RFU | Gnr2RFU | Gnr3RFU | RFUPercentCV | RFUStdDev | KitGuid | InstrumentName | Gnr1CalculatedConcentration | Gnr2CalculatedConcentration | Gnr3CalculatedConcentration | KnownConcentration | PercentRecovery | Signal | CurveCoefficientA | CurveCoefficientB | CurveCoefficientC | CurveCoefficientD | CurveCoefficientG | SampleType | Background | BufferId | CartridgeComments | DiluentId | Gnr1Background | Gnr1Signal | Gnr2Background | Gnr2Signal | Gnr3Background | Gnr3Signal | GnrCount | GnrFilter | GnrFilterCVPercentThreshold | InletComment | IsSampleStdDev | RunUserName | SpecimenTypes
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 4837 | CXCL10 | 1 | 2 | 28.504 | IR | 2.269 | 0.647 | 10.958 | 11.318 | 10.65 | 10.905 | 2.514 | 0.275 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 29.351 | 27.781 | 28.381 |  |  | 11.427 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.47 | 689 |  | 726 | 0.47 | 11.788 | 0.47 | 11.119 | 0.47 | 11.374 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 4837 | IFNg | 1 | 2 | 9.147 | IR | 5.839 | 0.534 | 1.906 | 1.972 | 1.978 | 1.769 | 5.099 | 0.097 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 9.509 | 9.54 | 8.392 |  |  | 2.357 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.451 | 689 |  | 726 | 0.451 | 2.423 | 0.451 | 2.429 | 0.451 | 2.22 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 4837 | IL-6 | 1 | 2 | 4.436 | IR | 3.983 | 0.177 | 0.656 | 0.624 | 0.675 | 0.67 | 3.551 | 0.023 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 4.187 | 4.58 | 4.542 |  |  | 1.105 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.449 | 689 |  | 726 | 0.449 | 1.072 | 0.449 | 1.124 | 0.449 | 1.119 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 4837 | IL-8 | 1 | 2 | 54.939 | IR | 1.034 | 0.568 | 26.687 | 27.056 | 26.623 | 26.383 | 1.044 | 0.279 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 55.69 | 54.809 | 54.318 |  |  | 27.149 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.462 | 689 |  | 726 | 0.462 | 27.518 | 0.462 | 27.085 | 0.462 | 26.845 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 90459 | CXCL10 | 2 | 2 | 129.251 | IR | 2.784 | 3.599 | 57.706 | 60.147 | 56.296 | 56.674 | 3.003 | 1.733 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 134.32 | 126.323 | 127.109 |  |  | 58.164 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.458 | 689 |  | 726 | 0.458 | 60.605 | 0.458 | 56.754 | 0.458 | 57.132 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 90459 | IFNg | 2 | 2 | 18.185 | IR | 10.552 | 1.919 | 3.56 | 3.795 | 3.062 | 3.823 | 9.897 | 0.352 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 19.464 | 15.473 | 19.619 |  |  | 4.013 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.453 | 689 |  | 726 | 0.453 | 4.247 | 0.453 | 3.515 | 0.453 | 4.276 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 90459 | IL-6 | 2 | 2 | 8.374 | IR | 0.514 | 0.043 | 1.172 | 1.167 |  | 1.178 | 0.478 | 0.006 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 8.331 |  | 8.417 |  |  | 1.621 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.449 | 689 |  | 726 | 0.449 | 1.615 |  |  | 0.449 | 1.627 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 90459 | IL-8 | 2 | 2 | 215.198 | IR | 3.288 | 7.075 | 104.691 | 106.085 | 100.014 | 107.974 | 3.243 | 3.396 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 218.099 | 205.455 | 222.041 |  |  | 105.155 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.464 | 689 |  | 726 | 0.464 | 106.549 | 0.464 | 100.478 | 0.464 | 108.438 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 89822 | CXCL10 | 3 | 2 | 478.594 | IR | 0.603 | 2.885 | 221.4 | 221.057 | 223.097 | 220.047 | 0.573 | 1.268 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 477.812 | 482.452 | 475.516 |  |  | 221.866 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.465 | 689 |  | 726 | 0.465 | 221.523 | 0.465 | 223.562 | 0.465 | 220.512 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 89822 | IFNg | 3 | 2 | 5.565 | IR | 2.195 | 0.122 | 1.256 | 1.226 | 1.277 | 1.265 | 1.757 | 0.022 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 5.396 | 5.682 | 5.616 |  |  | 1.712 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.456 | 689 |  | 726 | 0.456 | 1.681 | 0.456 | 1.733 | 0.456 | 1.721 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 89822 | IL-6 | 3 | 2 | 25.032 | IR | 1.323 | 0.331 | 3.317 | 3.355 | 3.338 | 3.258 | 1.273 | 0.042 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 25.331 | 25.195 | 24.571 |  |  | 3.773 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.457 | 689 |  | 726 | 0.457 | 3.811 | 0.457 | 3.794 | 0.457 | 3.714 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 89822 | IL-8 | 3 | 2 | 234.787 | IR | 0.782 | 1.837 | 114.07 | 115.272 | 113.203 | 113.734 | 0.769 | 0.877 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 237.304 | 232.972 | 234.084 |  |  | 114.535 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.465 | 689 |  | 726 | 0.465 | 115.737 | 0.465 | 113.668 | 0.465 | 114.2 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 85072 | CXCL10 | 4 | 2 | 147.517 | IR | 4.794 | 7.072 | 66.518 | 71.328 | 64.534 | 63.692 | 5.139 | 3.418 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 157.468 | 143.413 | 141.669 |  |  | 66.971 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.453 | 689 |  | 726 | 0.453 | 71.781 | 0.453 | 64.987 | 0.453 | 64.145 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 85072 | IFNg | 4 | 2 | 7.96 | IR | 4.865 | 0.387 | 1.69 | 1.728 | 1.751 | 1.592 | 4.161 | 0.07 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 8.169 | 8.294 | 7.417 |  |  | 2.141 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.45 | 689 |  | 726 | 0.45 | 2.179 | 0.45 | 2.201 | 0.45 | 2.042 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 85072 | IL-6 | 4 | 2 | 8.118 | IR | 6.105 | 0.496 | 1.139 | 1.22 | 1.136 | 1.061 | 5.677 | 0.065 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 8.736 | 8.093 | 7.523 |  |  | 1.594 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.455 | 689 |  | 726 | 0.455 | 1.674 | 0.455 | 1.591 | 0.455 | 1.516 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 85072 | IL-8 | 4 | 2 | 63.578 | IR | 1.569 | 0.998 | 30.926 | 30.864 | 30.36 | 31.555 | 1.583 | 0.49 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 63.451 | 62.425 | 64.859 |  |  | 31.395 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.468 | 689 |  | 726 | 0.468 | 31.332 | 0.468 | 30.829 | 0.468 | 32.023 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 85623 | CXCL10 | 5 | 2 | 98.833 | IR | 2.304 | 2.277 | 43.14 | 44.599 | 42.812 | 42.008 | 2.511 | 1.083 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 101.901 | 98.145 | 96.452 |  |  | 43.605 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.465 | 689 |  | 726 | 0.465 | 45.065 | 0.465 | 43.277 | 0.465 | 42.473 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 85623 | IFNg | 5 | 2 | 16.352 | IR | 3.564 | 0.583 | 3.223 | 3.372 | 3.125 | 3.173 | 3.318 | 0.107 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 17.163 | 15.816 | 16.078 |  |  | 3.679 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.456 | 689 |  | 726 | 0.456 | 3.828 | 0.456 | 3.581 | 0.456 | 3.629 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 85623 | IL-6 | 5 | 2 | 12.232 | IR | 10.293 | 1.259 | 1.673 | 1.547 | 1.57 | 1.903 | 9.733 | 0.163 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 11.253 | 11.433 | 14.009 |  |  | 2.128 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.454 | 689 |  | 726 | 0.454 | 2.001 | 0.454 | 2.024 | 0.454 | 2.357 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 85623 | IL-8 | 5 | 2 | 64.929 | IR | 0.954 | 0.62 | 31.589 | 31.922 | 31.187 | 31.659 | 0.963 | 0.304 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 65.608 | 64.11 | 65.07 |  |  | 32.058 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.468 | 689 |  | 726 | 0.468 | 32.391 | 0.468 | 31.656 | 0.468 | 32.127 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 91090 | CXCL10 | 6 | 2 | 391.552 | IR | 5.125 | 20.066 | 182.328 | 194.299 | 172.064 | 180.622 | 5.023 | 9.157 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 417.812 | 369.107 | 387.736 |  |  | 182.801 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.473 | 689 |  | 726 | 0.473 | 194.772 | 0.473 | 172.537 | 0.473 | 181.094 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 91090 | IFNg | 6 | 2 | 6.146 | IR | 0.398 | 0.024 | 1.361 |  | 1.366 | 1.357 | 0.325 | 0.004 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 |  | 6.17 | 6.121 |  |  | 1.826 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.465 | 689 |  | 726 |  |  | 0.465 | 1.83 | 0.465 | 1.822 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 91090 | IL-6 | 6 | 2 | 857.721 | IR | 1.946 | 16.694 | 95.212 | 96.52 | 96.223 | 92.894 | 1.726 | 1.644 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 871.004 | 867.983 | 834.177 |  |  | 95.684 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.471 | 689 |  | 726 | 0.471 | 96.991 | 0.471 | 96.695 | 0.471 | 93.366 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 91090 | IL-8 | 6 | 2 | 5922.516 | OOR> | 6.074 | 359.705 | 1547.507 | 1589.383 | 1481.939 | 1571.2 | 3.034 | 46.954 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 6247.583 | 5421.117 | 6098.849 |  |  | 1548.012 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.504 | 689 |  | 726 | 0.504 | 1589.887 | 0.504 | 1482.444 | 0.504 | 1571.705 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 85075 | CXCL10 | 7 | 2 | 430.814 | IR | 1.84 | 7.928 | 200.152 | 203.177 | 195.144 | 202.136 | 1.782 | 3.567 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 437.541 | 419.683 | 435.219 |  |  | 200.631 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.479 | 689 |  | 726 | 0.479 | 203.655 | 0.479 | 195.623 | 0.479 | 202.614 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 85075 | IFNg | 7 | 2 | 42.484 | IR | 1.592 | 0.676 | 8.048 | 8.173 | 7.923 |  | 1.558 | 0.125 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 43.16 | 41.807 |  |  |  | 8.512 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.464 | 689 |  | 726 | 0.464 | 8.638 | 0.464 | 8.387 |  |  | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 85075 | IL-6 | 7 | 2 | 5.505 | IR | 8.027 | 0.442 | 0.797 | 0.751 | 0.879 | 0.761 | 7.281 | 0.058 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 5.152 | 6.128 | 5.234 |  |  | 1.263 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.466 | 689 |  | 726 | 0.466 | 1.216 | 0.466 | 1.344 | 0.466 | 1.227 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 85075 | IL-8 | 7 | 2 | 48.795 | IR | 2.836 | 1.384 | 23.674 | 23.93 | 22.746 | 24.347 | 2.865 | 0.678 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 49.317 | 46.9 | 50.166 |  |  | 24.17 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.496 | 689 |  | 726 | 0.496 | 24.427 | 0.496 | 23.242 | 0.496 | 24.843 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 90725 | CXCL10 | 8 | 2 | 210.767 | IR | 0.676 | 1.425 | 97.108 | 96.419 |  | 97.796 | 0.709 | 0.688 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 209.342 |  | 212.192 |  |  | 97.579 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.472 | 689 |  | 726 | 0.472 | 96.891 |  |  | 0.472 | 98.267 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 90725 | IFNg | 8 | 2 | 6.282 | IR | 0.251 | 0.016 | 1.386 | 1.384 | 1.383 | 1.39 | 0.206 | 0.003 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 6.274 | 6.268 | 6.304 |  |  | 1.846 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.46 | 689 |  | 726 | 0.46 | 1.844 | 0.46 | 1.843 | 0.46 | 1.85 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 90725 | IL-6 | 8 | 2 | 19.777 | IR | 7.476 | 1.479 | 2.645 | 2.802 | 2.378 | 2.754 | 7.169 | 0.19 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 21.006 | 17.698 | 20.628 |  |  | 3.116 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.471 | 689 |  | 726 | 0.471 | 3.273 | 0.471 | 2.849 | 0.471 | 3.225 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 90725 | IL-8 | 8 | 2 | 135.548 | IR | 2.653 | 3.597 | 66.162 | 68.052 | 63.828 | 66.607 | 2.65 | 1.753 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 139.426 | 130.759 | 136.459 |  |  | 66.642 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.48 | 689 |  | 726 | 0.48 | 68.533 | 0.48 | 64.308 | 0.48 | 67.087 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 90651 | CXCL10 | 9 | 2 | 327.172 | IR | 5.582 | 18.264 | 152.547 | 163.141 | 142.198 | 152.302 | 5.606 | 8.552 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 349.826 | 305.101 | 326.59 |  |  | 161.787 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 9.24 | 689 |  | 726 | 9.24 | 172.381 | 9.24 | 151.438 | 9.24 | 161.542 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 90651 | IFNg | 9 | 2 | 199.414 | IR | 1.18 | 2.353 | 37.184 |  | 36.749 | 37.618 | 1.169 | 0.435 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 |  | 197.062 | 201.767 |  |  | 45.831 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 8.647 | 689 |  | 726 |  |  | 8.647 | 45.396 | 8.647 | 46.265 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 90651 | IL-6 | 9 | 2 | 423.808 | IR | 6.766 | 28.673 | 50.094 |  | 46.938 | 53.251 | 6.301 | 3.156 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 |  | 395.135 | 452.482 |  |  | 57.666 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 7.572 | 689 |  | 726 |  |  | 7.572 | 54.51 | 7.572 | 60.823 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 90651 | IL-8 | 9 | 2 | 6542.693 | OOR> | 5.551 | 363.193 | 1622.803 | 1670.393 | 1629.751 | 1568.266 | 2.587 | 41.982 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 6960.706 | 6592.167 | 6075.206 |  |  | 1635.662 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 12.859 | 689 |  | 726 | 12.859 | 1683.252 | 12.859 | 1642.61 | 12.859 | 1581.125 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 83327 | CXCL10 | 10 | 2 | 85.521 | IR | 4.208 | 3.599 | 36.839 | 39.239 | 35.627 | 35.649 | 4.608 | 1.697 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 90.61 | 82.953 | 83 |  |  | 37.305 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.466 | 689 |  | 726 | 0.466 | 39.705 | 0.466 | 36.093 | 0.466 | 36.115 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 83327 | IFNg | 10 | 2 | 11.21 | IR | 3.1 | 0.347 | 2.282 | 2.359 | 2.204 | 2.283 | 2.779 | 0.063 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 11.633 | 10.782 | 11.214 |  |  | 2.735 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.453 | 689 |  | 726 | 0.453 | 2.812 | 0.453 | 2.657 | 0.453 | 2.736 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 83327 | IL-6 | 10 | 2 | 130.033 | IR | 4.828 | 6.277 | 16.299 |  | 17.057 | 15.541 | 4.651 | 0.758 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 |  | 136.31 | 123.756 |  |  | 16.759 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.46 | 689 |  | 726 |  |  | 0.46 | 17.517 | 0.46 | 16.001 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 83327 | IL-8 | 10 | 2 | 500.32 | IR | 1.731 | 8.658 | 236.689 | 242.138 | 234.091 | 233.837 | 1.629 | 3.855 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 512.56 | 494.485 | 493.915 |  |  | 237.187 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.498 | 689 |  | 726 | 0.498 | 242.636 | 0.498 | 234.589 | 0.498 | 234.335 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 90058 | CXCL10 | 11 | 2 | 138.168 | IR | 1.741 | 2.406 | 62.003 | 63.633 | 61.356 | 61.019 | 1.873 | 1.161 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 141.547 | 136.827 | 136.13 |  |  | 62.453 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.45 | 689 |  | 726 | 0.45 | 64.083 | 0.45 | 61.806 | 0.45 | 61.47 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 90058 | IFNg | 11 | 2 | 13.761 | IR | 5.449 | 0.75 | 2.748 | 2.559 | 2.881 | 2.805 | 4.992 | 0.137 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 12.728 | 14.484 | 14.07 |  |  | 3.185 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.437 | 689 |  | 726 | 0.437 | 2.996 | 0.437 | 3.317 | 0.437 | 3.242 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 90058 | IL-6 | 11 | 2 | 11.774 | IR | 6.172 | 0.727 | 1.614 | 1.591 | 1.739 | 1.512 | 5.83 | 0.094 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 11.597 | 12.74 | 10.987 |  |  | 2.055 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.441 | 689 |  | 726 | 0.441 | 2.032 | 0.441 | 2.18 | 0.441 | 1.953 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 90058 | IL-8 | 11 | 2 | 55.594 | IR | 3.32 | 1.845 | 27.009 | 27.924 | 27.327 | 25.776 | 3.352 | 0.905 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 57.46 | 56.243 | 53.081 |  |  | 27.491 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.482 | 689 |  | 726 | 0.482 | 28.406 | 0.482 | 27.809 | 0.482 | 26.258 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 91445 | CXCL10 | 12 | 2 | 271.956 | IR | 2.915 | 7.927 | 126.474 | 131.777 | 124.348 | 123.295 | 2.985 | 3.775 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 283.093 | 267.491 | 265.284 |  |  | 126.945 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.471 | 689 |  | 726 | 0.471 | 132.248 | 0.471 | 124.819 | 0.471 | 123.766 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 91445 | IFNg | 12 | 2 | 10.918 | IR | 2.53 | 0.276 | 2.229 | 2.196 | 2.191 | 2.3 | 2.262 | 0.05 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 10.736 | 10.71 | 11.309 |  |  | 2.706 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.477 | 689 |  | 726 | 0.477 | 2.672 | 0.477 | 2.668 | 0.477 | 2.777 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 91445 | IL-6 | 12 | 2 | 163.98 | IR | 1.063 | 1.744 | 20.373 |  | 20.165 | 20.581 | 1.021 | 0.208 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 |  | 162.236 | 165.724 |  |  | 20.845 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.472 | 689 |  | 726 |  |  | 0.472 | 20.637 | 0.472 | 21.053 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 91445 | IL-8 | 12 | 2 | 1039.363 | IR | 4.714 | 48.997 | 459.507 | 440.377 | 453.24 | 484.903 | 4.072 | 18.71 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 989.44 | 1022.709 | 1105.939 |  |  | 460.043 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.537 | 689 |  | 726 | 0.537 | 440.913 | 0.537 | 453.777 | 0.537 | 485.44 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 91233 | CXCL10 | 13 | 2 | 332.682 | IR | 3.6 | 11.977 | 155.14 | 158.547 | 159.637 | 147.236 | 3.614 | 5.607 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 339.955 | 342.295 | 315.798 |  |  | 155.639 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.499 | 689 |  | 726 | 0.499 | 159.046 | 0.499 | 160.136 | 0.499 | 147.735 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 91233 | IFNg | 13 | 2 | 16.472 | IR | 0.864 | 0.142 | 3.245 | 3.223 | 3.282 | 3.23 | 0.805 | 0.026 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 16.352 | 16.672 | 16.392 |  |  | 3.691 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.446 | 689 |  | 726 | 0.446 | 3.669 | 0.446 | 3.728 | 0.446 | 3.676 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 91233 | IL-6 | 13 | 2 | 22.594 | IR | 6.812 | 1.539 | 3.005 | 2.775 | 2.986 | 3.255 | 6.544 | 0.197 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 20.79 | 22.443 | 24.55 |  |  | 3.452 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.447 | 689 |  | 726 | 0.447 | 3.222 | 0.447 | 3.433 | 0.447 | 3.702 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 91233 | IL-8 | 13 | 2 | 215.731 | IR | 3.744 | 8.078 | 104.946 | 107.973 | 107.391 | 99.473 | 3.694 | 3.877 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 222.04 | 220.825 | 204.328 |  |  | 105.42 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.475 | 689 |  | 726 | 0.475 | 108.448 | 0.475 | 107.866 | 0.475 | 99.948 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | 90651 | CXCL10 | 14 | 2 | 2630.258 | OOR> | 0.698 | 18.355 | 803.927 | 801.405 | 802.337 | 808.038 | 0.365 | 2.932 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 2614.49 | 2620.284 | 2656 |  |  | 804.779 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.852 | 689 |  | 726 | 0.852 | 802.257 | 0.852 | 803.189 | 0.852 | 808.89 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | 90651 | IFNg | 14 | 2 | 9.072 | IR | 0.837 | 0.076 | 1.892 | 1.911 | 1.889 | 1.878 | 0.73 | 0.014 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 9.174 | 9.052 | 8.991 |  |  | 2.354 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.462 | 689 |  | 726 | 0.462 | 2.373 | 0.462 | 2.351 | 0.462 | 2.34 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | 90651 | IL-6 | 14 | 2 | 81.497 | IR | 1.388 | 1.131 | 10.381 | 10.224 | 10.356 | 10.563 | 1.343 | 0.139 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 80.224 | 81.294 | 82.973 |  |  | 10.85 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.469 | 689 |  | 726 | 0.469 | 10.693 | 0.469 | 10.825 | 0.469 | 11.032 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | 90651 | IL-8 | 14 | 2 | 3543.398 | IR | 2.112 | 74.83 | 1163.564 | 1172.291 | 1176.502 | 1141.9 | 1.325 | 15.415 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 3585.569 | 3606.368 | 3438.255 |  |  | 1164.261 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.696 | 689 |  | 726 | 0.696 | 1172.987 | 0.696 | 1177.199 | 0.696 | 1142.597 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | Blank | CXCL10 | 15 | 2 | 0.363 | OOR< | 12.004 | 0.044 | 0.181 | 0.195 | 0.169 | 0.179 | 6.01 | 0.011 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 0.421 | 0.315 | 0.355 |  |  | 0.629 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Unknown | 0.448 | 689 |  | 726 | 0.448 | 0.644 | 0.448 | 0.617 | 0.448 | 0.627 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | Blank | IFNg | 15 | 2 | 0.096 | OOR< | 78.29 | 0.075 | 0.281 | 0.297 | 0.283 | 0.263 | 4.882 | 0.014 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 0.184 | 0.105 | 0 |  |  | 0.734 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Unknown | 0.453 | 689 |  | 726 | 0.453 | 0.75 | 0.453 | 0.736 | 0.453 | 0.716 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | Blank | IL-6 | 15 | 2 | 0.429 | OOR< | 3.07 | 0.013 | 0.121 | 0.123 |  | 0.119 | 1.491 | 0.002 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 0.442 |  | 0.416 |  |  | 0.568 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Unknown | 0.447 | 689 |  | 726 | 0.447 | 0.57 |  |  | 0.447 | 0.566 | 2 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | Blank | IL-8 | 15 | 2 | 0.037 | OOR< | 52.513 | 0.02 | 0.106 | 0.114 | 0.095 | 0.11 | 7.749 | 0.008 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 0.055 | 0.01 | 0.046 |  |  | 0.564 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Unknown | 0.457 | 689 |  | 726 | 0.457 | 0.571 | 0.457 | 0.552 | 0.457 | 0.567 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 1 | Lo Control | CXCL10 | 16 | 1 | 0.218 | OOR< | 7.224 | 0.016 | 0.199 | 0.189 | 0.209 | 0.2 | 4.025 | 0.008 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 0.198 | 0.237 | 0.219 | 1 | 21.816 | 0.661 | 0.101 | 1.127 | 913.749 | 1686.549 | 0.704 | Control | 0.461 | 689 |  | 726 | 0.461 | 0.651 | 0.461 | 0.67 | 0.461 | 0.661 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 2 | Lo Control | IFNg | 16 | 1 | 65.617 | IR | 2.149 | 1.41 | 24.547 | 24.948 | 24.885 | 23.806 | 2.135 | 0.524 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 66.698 | 66.529 | 63.625 | 57.3 | 114.515 | 25.015 | 0.266 | 1.016 | 4577.497 | 2565.177 | 0.714 | Control | 0.468 | 689 |  | 726 | 0.468 | 25.416 | 0.468 | 25.353 | 0.468 | 24.274 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 3 | Lo Control | IL-6 | 16 | 1 | 62.828 | IR | 6.277 | 3.944 | 15.769 | 16.456 | 14.419 | 16.434 | 6.057 | 0.955 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 65.664 | 57.251 | 65.57 | 42.15 | 149.059 | 16.266 | 0.061 | 0.984 | 3449.682 | 1126.02 | 0.73 | Control | 0.496 | 689 |  | 726 | 0.496 | 16.953 | 0.496 | 14.915 | 0.496 | 16.93 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum
34146 | 7/12/2017 17:56 | 2411 | 35290 | 4 | Lo Control | IL-8 | 16 | 1 | 0.134 | OOR< | 7.168 | 0.01 | 0.207 | 0.212 | 0.195 | 0.215 | 4.116 | 0.009 | 1d678bb5-de42-4aba-b621-36525c6270f9 | Ella-16030076 | 0.14 | 0.121 | 0.143 | 1 | 13.435 | 0.682 | 0.091 | 1.022 | 2954.145 | 2878.453 | 1.112 | Control | 0.474 | 689 |  | 726 | 0.474 | 0.687 | 0.474 | 0.67 | 0.474 | 0.689 | 3 | GnrRfuCVThreshold | 10 |  | FALSE | Ella | PlasmaSerum

## Summary 1
Analyte 1 (CXCL10)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 0.47 | 11.318 | 10.65 | 10.905 | 11.427 | 2.514 | 11.788 | 11.119 | 11.374 | 10.958 | 29.351 | 27.781 | 28.381 | 28.504 | 2.269
2 | 90459 | 0.458 | 60.147 | 56.296 | 56.674 | 58.164 | 3.003 | 60.605 | 56.754 | 57.132 | 57.706 | 134.32 | 126.323 | 127.109 | 129.251 | 2.784
3 | 89822 | 0.465 | 221.057 | 223.097 | 220.047 | 221.866 | 0.573 | 221.523 | 223.562 | 220.512 | 221.4 | 477.812 | 482.452 | 475.516 | 478.594 | 0.603
4 | 85072 | 0.453 | 71.328 | 64.534 | 63.692 | 66.971 | 5.139 | 71.781 | 64.987 | 64.145 | 66.518 | 157.468 | 143.413 | 141.669 | 147.517 | 4.794
5 | 85623 | 0.465 | 44.599 | 42.812 | 42.008 | 43.605 | 2.511 | 45.065 | 43.277 | 42.473 | 43.14 | 101.901 | 98.145 | 96.452 | 98.833 | 2.304
6 | 91090 | 0.473 | 194.299 | 172.064 | 180.622 | 182.801 | 5.023 | 194.772 | 172.537 | 181.094 | 182.328 | 417.812 | 369.107 | 387.736 | 391.552 | 5.125
7 | 85075 | 0.479 | 203.177 | 195.144 | 202.136 | 200.631 | 1.782 | 203.655 | 195.623 | 202.614 | 200.152 | 437.541 | 419.683 | 435.219 | 430.814 | 1.84
8 | 90725 | 0.472 | 96.419 | ND | 97.796 | 97.579 | 0.709 | 96.891 | ND | 98.267 | 97.108 | 209.342 | ND | 212.192 | 210.767 | 0.676
9 | 90651 | 9.24 | 163.141 | 142.198 | 152.302 | 161.787 | 5.606 | 172.381 | 151.438 | 161.542 | 152.547 | 349.826 | 305.101 | 326.59 | 327.172 | 5.582
10 | 83327 | 0.466 | 39.239 | 35.627 | 35.649 | 37.305 | 4.608 | 39.705 | 36.093 | 36.115 | 36.839 | 90.61 | 82.953 | 83 | 85.521 | 4.208
11 | 90058 | 0.45 | 63.633 | 61.356 | 61.019 | 62.453 | 1.873 | 64.083 | 61.806 | 61.47 | 62.003 | 141.547 | 136.827 | 136.13 | 138.168 | 1.741
12 | 91445 | 0.471 | 131.777 | 124.348 | 123.295 | 126.945 | 2.985 | 132.248 | 124.819 | 123.766 | 126.474 | 283.093 | 267.491 | 265.284 | 271.956 | 2.915
13 | 91233 | 0.499 | 158.547 | 159.637 | 147.236 | 155.639 | 3.614 | 159.046 | 160.136 | 147.735 | 155.14 | 339.955 | 342.295 | 315.798 | 332.682 | 3.6
14 | 90651 | 0.852 | 801.405 | 802.337 | 808.038 | 804.779 | 0.365 | 802.257 | 803.189 | 808.89 | 803.927 | 2614.49 | 2620.284 | 2656 | 2630.258 | 0.698
15 | Blank | 0.448 | 0.195 | 0.169 | 0.179 | 0.629 | 6.01 | 0.644 | 0.617 | 0.627 | 0.181 | 0.421 | 0.315 | 0.355 | 0.363 | 12.004
16 | Lo Control | 0.461 | 0.189 | 0.209 | 0.2 | 0.661 | 4.025 | 0.651 | 0.67 | 0.661 | 0.199 | 0.198 | 0.237 | 0.219 | 0.218 | 7.224
Analyte 2 (IFNg)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 0.451 | 1.972 | 1.978 | 1.769 | 2.357 | 5.099 | 2.423 | 2.429 | 2.22 | 1.906 | 9.509 | 9.54 | 8.392 | 9.147 | 5.839
2 | 90459 | 0.453 | 3.795 | 3.062 | 3.823 | 4.013 | 9.897 | 4.247 | 3.515 | 4.276 | 3.56 | 19.464 | 15.473 | 19.619 | 18.185 | 10.552
3 | 89822 | 0.456 | 1.226 | 1.277 | 1.265 | 1.712 | 1.757 | 1.681 | 1.733 | 1.721 | 1.256 | 5.396 | 5.682 | 5.616 | 5.565 | 2.195
4 | 85072 | 0.45 | 1.728 | 1.751 | 1.592 | 2.141 | 4.161 | 2.179 | 2.201 | 2.042 | 1.69 | 8.169 | 8.294 | 7.417 | 7.96 | 4.865
5 | 85623 | 0.456 | 3.372 | 3.125 | 3.173 | 3.679 | 3.318 | 3.828 | 3.581 | 3.629 | 3.223 | 17.163 | 15.816 | 16.078 | 16.352 | 3.564
6 | 91090 | ND | ND | 1.366 | 1.357 | 1.826 | 0.325 | ND | 1.83 | 1.822 | 1.361 | ND | 6.17 | 6.121 | 6.146 | 0.398
7 | 85075 | 0.464 | 8.173 | 7.923 | ND | 8.512 | 1.558 | 8.638 | 8.387 | ND | 8.048 | 43.16 | 41.807 | ND | 42.484 | 1.592
8 | 90725 | 0.46 | 1.384 | 1.383 | 1.39 | 1.846 | 0.206 | 1.844 | 1.843 | 1.85 | 1.386 | 6.274 | 6.268 | 6.304 | 6.282 | 0.251
9 | 90651 | ND | ND | 36.749 | 37.618 | 45.831 | 1.169 | ND | 45.396 | 46.265 | 37.184 | ND | 197.062 | 201.767 | 199.414 | 1.18
10 | 83327 | 0.453 | 2.359 | 2.204 | 2.283 | 2.735 | 2.779 | 2.812 | 2.657 | 2.736 | 2.282 | 11.633 | 10.782 | 11.214 | 11.21 | 3.1
11 | 90058 | 0.437 | 2.559 | 2.881 | 2.805 | 3.185 | 4.992 | 2.996 | 3.317 | 3.242 | 2.748 | 12.728 | 14.484 | 14.07 | 13.761 | 5.449
12 | 91445 | 0.477 | 2.196 | 2.191 | 2.3 | 2.706 | 2.262 | 2.672 | 2.668 | 2.777 | 2.229 | 10.736 | 10.71 | 11.309 | 10.918 | 2.53
13 | 91233 | 0.446 | 3.223 | 3.282 | 3.23 | 3.691 | 0.805 | 3.669 | 3.728 | 3.676 | 3.245 | 16.352 | 16.672 | 16.392 | 16.472 | 0.864
14 | 90651 | 0.462 | 1.911 | 1.889 | 1.878 | 2.354 | 0.73 | 2.373 | 2.351 | 2.34 | 1.892 | 9.174 | 9.052 | 8.991 | 9.072 | 0.837
15 | Blank | 0.453 | 0.297 | 0.283 | 0.263 | 0.734 | 4.882 | 0.75 | 0.736 | 0.716 | 0.281 | 0.184 | 0.105 | 0 | 0.096 | 78.29
16 | Lo Control | 0.468 | 24.948 | 24.885 | 23.806 | 25.015 | 2.135 | 25.416 | 25.353 | 24.274 | 24.547 | 66.698 | 66.529 | 63.625 | 65.617 | 2.149
Analyte 3 (IL-6)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 0.449 | 0.624 | 0.675 | 0.67 | 1.105 | 3.551 | 1.072 | 1.124 | 1.119 | 0.656 | 4.187 | 4.58 | 4.542 | 4.436 | 3.983
2 | 90459 | 0.449 | 1.167 | ND | 1.178 | 1.621 | 0.478 | 1.615 | ND | 1.627 | 1.172 | 8.331 | ND | 8.417 | 8.374 | 0.514
3 | 89822 | 0.457 | 3.355 | 3.338 | 3.258 | 3.773 | 1.273 | 3.811 | 3.794 | 3.714 | 3.317 | 25.331 | 25.195 | 24.571 | 25.032 | 1.323
4 | 85072 | 0.455 | 1.22 | 1.136 | 1.061 | 1.594 | 5.677 | 1.674 | 1.591 | 1.516 | 1.139 | 8.736 | 8.093 | 7.523 | 8.118 | 6.105
5 | 85623 | 0.454 | 1.547 | 1.57 | 1.903 | 2.128 | 9.733 | 2.001 | 2.024 | 2.357 | 1.673 | 11.253 | 11.433 | 14.009 | 12.232 | 10.293
6 | 91090 | 0.471 | 96.52 | 96.223 | 92.894 | 95.684 | 1.726 | 96.991 | 96.695 | 93.366 | 95.212 | 871.004 | 867.983 | 834.177 | 857.721 | 1.946
7 | 85075 | 0.466 | 0.751 | 0.879 | 0.761 | 1.263 | 7.281 | 1.216 | 1.344 | 1.227 | 0.797 | 5.152 | 6.128 | 5.234 | 5.505 | 8.027
8 | 90725 | 0.471 | 2.802 | 2.378 | 2.754 | 3.116 | 7.169 | 3.273 | 2.849 | 3.225 | 2.645 | 21.006 | 17.698 | 20.628 | 19.777 | 7.476
9 | 90651 | ND | ND | 46.938 | 53.251 | 57.666 | 6.301 | ND | 54.51 | 60.823 | 50.094 | ND | 395.135 | 452.482 | 423.808 | 6.766
10 | 83327 | ND | ND | 17.057 | 15.541 | 16.759 | 4.651 | ND | 17.517 | 16.001 | 16.299 | ND | 136.31 | 123.756 | 130.033 | 4.828
11 | 90058 | 0.441 | 1.591 | 1.739 | 1.512 | 2.055 | 5.83 | 2.032 | 2.18 | 1.953 | 1.614 | 11.597 | 12.74 | 10.987 | 11.774 | 6.172
12 | 91445 | ND | ND | 20.165 | 20.581 | 20.845 | 1.021 | ND | 20.637 | 21.053 | 20.373 | ND | 162.236 | 165.724 | 163.98 | 1.063
13 | 91233 | 0.447 | 2.775 | 2.986 | 3.255 | 3.452 | 6.544 | 3.222 | 3.433 | 3.702 | 3.005 | 20.79 | 22.443 | 24.55 | 22.594 | 6.812
14 | 90651 | 0.469 | 10.224 | 10.356 | 10.563 | 10.85 | 1.343 | 10.693 | 10.825 | 11.032 | 10.381 | 80.224 | 81.294 | 82.973 | 81.497 | 1.388
15 | Blank | 0.447 | 0.123 | ND | 0.119 | 0.568 | 1.491 | 0.57 | ND | 0.566 | 0.121 | 0.442 | ND | 0.416 | 0.429 | 3.07
16 | Lo Control | 0.496 | 16.456 | 14.419 | 16.434 | 16.266 | 6.057 | 16.953 | 14.915 | 16.93 | 15.769 | 65.664 | 57.251 | 65.57 | 62.828 | 6.277
Analyte 4 (IL-8)
|  | RFU | [5 empty] | RFU-Bkgd |  |  |  | Calculated Concentration
Sample # | Sample Name | Bkgd | Gnr1 | Gnr2 | Gnr3 | Avg | % CV | Gnr1 | Gnr2 | Gnr3 | Avg | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 0.462 | 27.056 | 26.623 | 26.383 | 27.149 | 1.044 | 27.518 | 27.085 | 26.845 | 26.687 | 55.69 | 54.809 | 54.318 | 54.939 | 1.034
2 | 90459 | 0.464 | 106.085 | 100.014 | 107.974 | 105.155 | 3.243 | 106.549 | 100.478 | 108.438 | 104.691 | 218.099 | 205.455 | 222.041 | 215.198 | 3.288
3 | 89822 | 0.465 | 115.272 | 113.203 | 113.734 | 114.535 | 0.769 | 115.737 | 113.668 | 114.2 | 114.07 | 237.304 | 232.972 | 234.084 | 234.787 | 0.782
4 | 85072 | 0.468 | 30.864 | 30.36 | 31.555 | 31.395 | 1.583 | 31.332 | 30.829 | 32.023 | 30.926 | 63.451 | 62.425 | 64.859 | 63.578 | 1.569
5 | 85623 | 0.468 | 31.922 | 31.187 | 31.659 | 32.058 | 0.963 | 32.391 | 31.656 | 32.127 | 31.589 | 65.608 | 64.11 | 65.07 | 64.929 | 0.954
6 | 91090 | 0.504 | 1589.383 | 1481.939 | 1571.2 | 1548.012 | 3.034 | 1589.887 | 1482.444 | 1571.705 | 1547.507 | 6247.583 | 5421.117 | 6098.849 | 5922.516 | 6.074
7 | 85075 | 0.496 | 23.93 | 22.746 | 24.347 | 24.17 | 2.865 | 24.427 | 23.242 | 24.843 | 23.674 | 49.317 | 46.9 | 50.166 | 48.795 | 2.836
8 | 90725 | 0.48 | 68.052 | 63.828 | 66.607 | 66.642 | 2.65 | 68.533 | 64.308 | 67.087 | 66.162 | 139.426 | 130.759 | 136.459 | 135.548 | 2.653
9 | 90651 | 12.859 | 1670.393 | 1629.751 | 1568.266 | 1635.662 | 2.587 | 1683.252 | 1642.61 | 1581.125 | 1622.803 | 6960.706 | 6592.167 | 6075.206 | 6542.693 | 5.551
10 | 83327 | 0.498 | 242.138 | 234.091 | 233.837 | 237.187 | 1.629 | 242.636 | 234.589 | 234.335 | 236.689 | 512.56 | 494.485 | 493.915 | 500.32 | 1.731
11 | 90058 | 0.482 | 27.924 | 27.327 | 25.776 | 27.491 | 3.352 | 28.406 | 27.809 | 26.258 | 27.009 | 57.46 | 56.243 | 53.081 | 55.594 | 3.32
12 | 91445 | 0.537 | 440.377 | 453.24 | 484.903 | 460.043 | 4.072 | 440.913 | 453.777 | 485.44 | 459.507 | 989.44 | 1022.709 | 1105.939 | 1039.363 | 4.714
13 | 91233 | 0.475 | 107.973 | 107.391 | 99.473 | 105.42 | 3.694 | 108.448 | 107.866 | 99.948 | 104.946 | 222.04 | 220.825 | 204.328 | 215.731 | 3.744
14 | 90651 | 0.696 | 1172.291 | 1176.502 | 1141.9 | 1164.261 | 1.325 | 1172.987 | 1177.199 | 1142.597 | 1163.564 | 3585.569 | 3606.368 | 3438.255 | 3543.398 | 2.112
15 | Blank | 0.457 | 0.114 | 0.095 | 0.11 | 0.564 | 7.749 | 0.571 | 0.552 | 0.567 | 0.106 | 0.055 | 0.01 | 0.046 | 0.037 | 52.513
16 | Lo Control | 0.474 | 0.212 | 0.195 | 0.215 | 0.682 | 4.116 | 0.687 | 0.67 | 0.689 | 0.207 | 0.14 | 0.121 | 0.143 | 0.134 | 7.168

## Summary 2
Analyte 1 (CXCL10)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 29.351 | 27.781 | 28.381 | 28.504 | 2.269
2 | 90459 | 134.32 | 126.323 | 127.109 | 129.251 | 2.784
3 | 89822 | 477.812 | 482.452 | 475.516 | 478.594 | 0.603
4 | 85072 | 157.468 | 143.413 | 141.669 | 147.517 | 4.794
5 | 85623 | 101.901 | 98.145 | 96.452 | 98.833 | 2.304
6 | 91090 | 417.812 | 369.107 | 387.736 | 391.552 | 5.125
7 | 85075 | 437.541 | 419.683 | 435.219 | 430.814 | 1.84
8 | 90725 | 209.342 | ND | 212.192 | 210.767 | 0.676
9 | 90651 | 349.826 | 305.101 | 326.59 | 327.172 | 5.582
10 | 83327 | 90.61 | 82.953 | 83 | 85.521 | 4.208
11 | 90058 | 141.547 | 136.827 | 136.13 | 138.168 | 1.741
12 | 91445 | 283.093 | 267.491 | 265.284 | 271.956 | 2.915
13 | 91233 | 339.955 | 342.295 | 315.798 | 332.682 | 3.6
14 | 90651 | 2614.49 | 2620.284 | 2656 | 2630.258 | 0.698
15 | Blank | 0.421 | 0.315 | 0.355 | 0.363 | 12.004
16 | Lo Control | 0.198 | 0.237 | 0.219 | 0.218 | 7.224
Analyte 2 (IFNg)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 9.509 | 9.54 | 8.392 | 9.147 | 5.839
2 | 90459 | 19.464 | 15.473 | 19.619 | 18.185 | 10.552
3 | 89822 | 5.396 | 5.682 | 5.616 | 5.565 | 2.195
4 | 85072 | 8.169 | 8.294 | 7.417 | 7.96 | 4.865
5 | 85623 | 17.163 | 15.816 | 16.078 | 16.352 | 3.564
6 | 91090 | ND | 6.17 | 6.121 | 6.146 | 0.398
7 | 85075 | 43.16 | 41.807 | ND | 42.484 | 1.592
8 | 90725 | 6.274 | 6.268 | 6.304 | 6.282 | 0.251
9 | 90651 | ND | 197.062 | 201.767 | 199.414 | 1.18
10 | 83327 | 11.633 | 10.782 | 11.214 | 11.21 | 3.1
11 | 90058 | 12.728 | 14.484 | 14.07 | 13.761 | 5.449
12 | 91445 | 10.736 | 10.71 | 11.309 | 10.918 | 2.53
13 | 91233 | 16.352 | 16.672 | 16.392 | 16.472 | 0.864
14 | 90651 | 9.174 | 9.052 | 8.991 | 9.072 | 0.837
15 | Blank | 0.184 | 0.105 | 0 | 0.096 | 78.29
16 | Lo Control | 66.698 | 66.529 | 63.625 | 65.617 | 2.149
Analyte 3 (IL-6)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 4.187 | 4.58 | 4.542 | 4.436 | 3.983
2 | 90459 | 8.331 | ND | 8.417 | 8.374 | 0.514
3 | 89822 | 25.331 | 25.195 | 24.571 | 25.032 | 1.323
4 | 85072 | 8.736 | 8.093 | 7.523 | 8.118 | 6.105
5 | 85623 | 11.253 | 11.433 | 14.009 | 12.232 | 10.293
6 | 91090 | 871.004 | 867.983 | 834.177 | 857.721 | 1.946
7 | 85075 | 5.152 | 6.128 | 5.234 | 5.505 | 8.027
8 | 90725 | 21.006 | 17.698 | 20.628 | 19.777 | 7.476
9 | 90651 | ND | 395.135 | 452.482 | 423.808 | 6.766
10 | 83327 | ND | 136.31 | 123.756 | 130.033 | 4.828
11 | 90058 | 11.597 | 12.74 | 10.987 | 11.774 | 6.172
12 | 91445 | ND | 162.236 | 165.724 | 163.98 | 1.063
13 | 91233 | 20.79 | 22.443 | 24.55 | 22.594 | 6.812
14 | 90651 | 80.224 | 81.294 | 82.973 | 81.497 | 1.388
15 | Blank | 0.442 | ND | 0.416 | 0.429 | 3.07
16 | Lo Control | 65.664 | 57.251 | 65.57 | 62.828 | 6.277
Analyte 4 (IL-8)
Calculated Concentration
Sample # | Sample Name | Gnr1 | Gnr2 | Gnr3 | Avg | % CV
1 | 4837 | 55.69 | 54.809 | 54.318 | 54.939 | 1.034
2 | 90459 | 218.099 | 205.455 | 222.041 | 215.198 | 3.288
3 | 89822 | 237.304 | 232.972 | 234.084 | 234.787 | 0.782
4 | 85072 | 63.451 | 62.425 | 64.859 | 63.578 | 1.569
5 | 85623 | 65.608 | 64.11 | 65.07 | 64.929 | 0.954
6 | 91090 | 6247.583 | 5421.117 | 6098.849 | 5922.516 | 6.074
7 | 85075 | 49.317 | 46.9 | 50.166 | 48.795 | 2.836
8 | 90725 | 139.426 | 130.759 | 136.459 | 135.548 | 2.653
9 | 90651 | 6960.706 | 6592.167 | 6075.206 | 6542.693 | 5.551
10 | 83327 | 512.56 | 494.485 | 493.915 | 500.32 | 1.731
11 | 90058 | 57.46 | 56.243 | 53.081 | 55.594 | 3.32
12 | 91445 | 989.44 | 1022.709 | 1105.939 | 1039.363 | 4.714
13 | 91233 | 222.04 | 220.825 | 204.328 | 215.731 | 3.744
14 | 90651 | 3585.569 | 3606.368 | 3438.255 | 3543.398 | 2.112
15 | Blank | 0.055 | 0.01 | 0.046 | 0.037 | 52.513
16 | Lo Control | 0.14 | 0.121 | 0.143 | 0.134 | 7.168

## Summary 3
CalculatedConcentration
Sample | CXCL10 | IFNg | IL-6 | IL-8
1 | 28.504 | 9.147 | 4.436 | 54.939
2 | 129.251 | 18.185 | 8.374 | 215.198
3 | 478.594 | 5.565 | 25.032 | 234.787
4 | 147.517 | 7.96 | 8.118 | 63.578
5 | 98.833 | 16.352 | 12.232 | 64.929
6 | 391.552 | 6.146 | 857.721 | 5922.516
7 | 430.814 | 42.484 | 5.505 | 48.795
8 | 210.767 | 6.282 | 19.777 | 135.548
9 | 327.172 | 199.414 | 423.808 | 6542.693
10 | 85.521 | 11.21 | 130.033 | 500.32
11 | 138.168 | 13.761 | 11.774 | 55.594
12 | 271.956 | 10.918 | 163.98 | 1039.363
13 | 332.682 | 16.472 | 22.594 | 215.731
14 | 2630.258 | 9.072 | 81.497 | 3543.398
15 | 0.363 | 0.096 | 0.429 | 0.037
16 | 0.218 | 65.617 | 62.828 | 0.134
Curve Coefficients
| CXCL10 | IFNg | IL-6 | IL-8
A | 0.101 | 0.266 | 0.061 | 0.091
B | 1.127 | 1.016 | 0.984 | 1.022
C | 913.749 | 4577.497 | 3449.682 | 2954.145
D | 1686.549 | 2565.177 | 1126.02 | 2878.453
G | 0.704 | 0.714 | 0.73 | 1.112
| 0.1 | 0.096 | 0.1 | 0.037
| 0.218 | 0.1 | 0.429 | 0.1
| 0.363 | 1 | 1 | 0.134
| 1 | 5.565 | 4.436 | 1
| 10 | 6.146 | 5.505 | 10
| 28.504 | 6.282 | 8.118 | 48.795
| 85.521 | 7.96 | 8.374 | 54.939
| 98.833 | 9.072 | 10 | 55.594
| 100 | 9.147 | 11.774 | 63.578
| 129.251 | 10 | 12.232 | 64.929
| 138.168 | 10.918 | 19.777 | 100
| 147.517 | 11.21 | 22.594 | 135.548
| 210.767 | 13.761 | 25.032 | 215.198
| 271.956 | 16.352 | 62.828 | 215.731
| 327.172 | 16.472 | 81.497 | 234.787
| 332.682 | 18.185 | 100 | 500.32
| 391.552 | 42.484 | 130.033 | 1000
| 430.814 | 65.617 | 163.98 | 1039.363
| 478.594 | 100 | 423.808 | 3543.398
| 1000 | 199.414 | 857.721 | 5922.516
| 2630.258 | 1000 | 1000 | 6542.693
| 10000 | 10000 | 10000 | 10000
| 0.1418 | 0.29833 | 0.089162 | 0.12227
| 0.1992 | 0.2997 | 0.17902 | 0.17739
| 0.27544 | 0.61554 | 0.33236 | 0.20751
| 0.64742 | 2.2638 | 1.2353 | 0.99953
| 7.3858 | 2.4757 | 1.5128 | 9.6212
| 23.5439 | 2.5253 | 2.1872 | 47.6376
| 77.7818 | 3.1389 | 2.253 | 53.656
| 90.6504 | 3.5464 | 2.67 | 54.297
| 91.7776 | 3.5739 | 3.1234 | 62.1019
| 119.8994 | 3.8871 | 3.2402 | 63.4207
| 128.4016 | 4.2244 | 5.1515 | 97.4295
| 137.2704 | 4.3318 | 5.8599 | 131.378
| 195.7692 | 5.2712 | 6.4709 | 205.2772
| 249.4503 | 6.2274 | 15.7583 | 205.7612
| 295.2536 | 6.2717 | 20.2411 | 222.9757
| 299.6865 | 6.9048 | 24.6257 | 444.7176
| 345.5172 | 15.9212 | 31.6294 | 783.2417
| 374.5653 | 24.5158 | 39.3896 | 806.2926
| 408.3494 | 37.2486 | 94.1968 | 1683.2718
| 688.5894 | 73.5483 | 171.6746 | 2041.1765
| 1081.8124 | 330.8706 | 194.0571 | 2103.3458
| 1445.2621 | 1450.3016 | 705.1512 | 2334.9078